RUN #5 at 16.05.2003 16:57:09
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\astf.txt
533 reference values read from file

LISTING OF SORTED INPUT DATA

   11.39   11.60   11.78   12.05   12.07   12.22   12.46   12.96   13.27   13.36
   13.50   13.52   13.54   13.56   13.62   13.69   13.69   13.69   13.75   13.83
   13.88   13.91   14.05   14.18   14.19   14.35   14.40   14.48   14.48   14.49
   14.50   14.63   14.65   14.71   14.80   14.83   14.85   14.91   14.92   14.94
   14.95   14.97   14.98   15.01   15.06   15.13   15.17   15.31   15.32   15.34
   15.35   15.41   15.49   15.55   15.64   15.66   15.76   15.77   15.78   15.81
   15.86   15.88   15.89   15.93   15.98   15.99   16.07   16.14   16.17   16.27
   16.32   16.33   16.37   16.42   16.44   16.50   16.55   16.56   16.57   16.62
   16.62   16.68   16.68   16.75   16.78   16.82   16.82   16.84   16.84   16.98
   17.00   17.00   17.02   17.06   17.07   17.08   17.12   17.14   17.18   17.20
   17.21   17.23   17.28   17.29   17.32   17.32   17.35   17.36   17.38   17.38
   17.42   17.50   17.58   17.62   17.64   17.70   17.74   17.75   17.75   17.78
   17.83   17.85   17.85   17.86   17.88   17.89   17.91   17.96   17.96   17.97
   18.01   18.01   18.03   18.08   18.12   18.13   18.13   18.13   18.15   18.18
   18.19   18.20   18.21   18.23   18.26   18.28   18.33   18.33   18.36   18.39
   18.39   18.44   18.46   18.49   18.51   18.51   18.55   18.57   18.58   18.59
   18.60   18.65   18.74   18.80   18.83   18.84   18.88   18.89   18.89   18.91
   18.91   18.92   18.94   18.96   18.96   18.97   18.98   19.00   19.04   19.05
   19.05   19.06   19.08   19.10   19.12   19.13   19.14   19.16   19.18   19.20
   19.22   19.24   19.30   19.34   19.40   19.41   19.44   19.46   19.47   19.67
   19.73   19.75   19.84   19.85   19.85   19.86   19.87   19.87   19.87   19.87
   19.91   19.94   19.94   20.00   20.03   20.06   20.11   20.11   20.12   20.14
   20.18   20.18   20.19   20.19   20.21   20.28   20.39   20.41   20.43   20.43
   20.43   20.44   20.44   20.47   20.56   20.56   20.56   20.58   20.59   20.60
   20.64   20.66   20.66   20.66   20.68   20.75   20.79   20.80   20.81   20.83
   20.87   20.90   20.93   20.96   20.96   20.98   20.99   21.00   21.00   21.00
   21.02   21.03   21.03   21.06   21.07   21.11   21.13   21.18   21.19   21.19
   21.19   21.21   21.23   21.24   21.27   21.32   21.34   21.35   21.36   21.37
   21.39   21.39   21.44   21.45   21.53   21.56   21.56   21.64   21.69   21.76
   21.76   21.82   21.83   21.83   21.88   21.89   21.90   21.91   21.92   21.93
   21.93   21.96   21.96   21.97   21.99   22.03   22.07   22.08   22.08   22.12
   22.13   22.18   22.19   22.20   22.21   22.21   22.22   22.23   22.27   22.36
   22.40   22.41   22.44   22.47   22.59   22.67   22.72   22.76   22.78   22.79
   22.88   22.94   22.96   22.97   23.04   23.04   23.05   23.08   23.09   23.10
   23.13   23.17   23.18   23.18   23.19   23.24   23.27   23.32   23.33   23.37
   23.39   23.39   23.40   23.43   23.47   23.48   23.55   23.58   23.70   23.71
   23.71   23.73   23.74   23.80   23.82   23.91   23.94   24.01   24.03   24.03
   24.04   24.05   24.05   24.07   24.12   24.24   24.25   24.26   24.29   24.31
   24.33   24.33   24.35   24.37   24.39   24.41   24.41   24.42   24.45   24.49
   24.53   24.57   24.62   24.69   24.70   24.70   24.74   24.75   24.86   24.89
   24.89   24.90   24.93   24.94   24.98   25.23   25.23   25.26   25.30   25.33
   25.36   25.45   25.63   25.65   25.73   25.73   25.75   25.75   25.75   25.76
   25.76   25.91   25.92   26.02   26.08   26.13   26.14   26.19   26.22   26.29
   26.31   26.36   26.39   26.43   26.48   26.50   26.62   26.64   26.69   26.72
   26.75   26.81   26.81   27.00   27.02   27.05   27.06   27.13   27.28   27.30
   27.53   27.57   27.58   27.68   27.80   27.83   27.93   27.96   28.00   28.05
   28.08   28.13   28.37   28.38   28.39   28.43   28.44   28.46   28.56   28.60
   28.66   28.66   28.76   28.94   29.01   29.02   29.06   29.06   29.13   29.20

   29.21   29.32   29.51   29.53   29.78   29.78   29.79   30.19   30.42   30.55
   30.74   30.88   31.12   31.20   31.23   31.60   31.83   31.83   31.86   31.98
   32.06   32.31   32.35   32.44   32.60   32.62   33.04   33.07   33.15   33.37
   33.50   33.70   33.81   33.99   34.23   34.50   34.67   34.74   35.31   35.60
   36.06   36.10   36.15   36.57   36.90   37.58   37.69   37.78   38.04   38.25
   40.31   44.31   45.55

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     13.19     8     8   0.015   0.015
       2     14.99    35    43   0.066   0.081
       3     16.78    42    85   0.079   0.159
       4     18.58    74   159   0.139   0.298
       5     20.38    67   226   0.126   0.424
       6     22.18    86   312   0.161   0.585
       7     23.98    55   367   0.103   0.689
       8     25.77    54   421   0.101   0.790
       9     27.57    31   452   0.058   0.848
      10     29.37    30   482   0.056   0.904
      11     31.17    11   493   0.021   0.925
      12     32.96    13   506   0.024   0.949
      13     34.76    12   518   0.023   0.972
      14     36.56     5   523   0.009   0.981
      15     38.36     7   530   0.013   0.994
      16     40.16     0   530   0.000   0.994
      17     41.95     1   531   0.002   0.996
      18     43.75     0   531   0.000   0.996
      19     45.55     2   533   0.004   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |         .              .              .              .
       2 |         .              .              .
       3 |     .              .              .
       4 |  .              .
       5 |      .              .
       6 |           .
       7 |             .              .
       8 |              .              .
       9 |            .              .              .
      10 |            .              .              .
      11 |        .              .              .              .
      12 |       .              .              .              .
      13 |       .              .              .              .
      14 |           .              .              .              .
      15 |          .              .              .              .
      16 |              .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.885   0.000
Coefficient of kurtosis:         1.026   0.001
Anderson-Darling's Asquare:      5.365   0.000
Cramer-von Mises's Wsquare:      0.860   0.000
Kolmogorov-Smirnov's Dmax:       0.079   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       13.55        12.96 ..   13.83
        0.975       35.90        33.99 ..   37.58

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       13.55        13.16 ..   13.94
        0.975       35.66        34.06 ..   37.27

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       13.56        13.23 ..   13.91
        0.975       34.83        33.74 ..   35.98

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              21.9882
St.dev. of original data                            5.5782
Parameter of expo-transform                        -0.3135
Mean of expo-transformed data                      -0.1466
St.dev. of expo-transformed data                    0.9389
Coeff. of skewness of expo-transformed data         0.0099
Coeff. of kurtosis of expo-transformed data        -0.3320
Parameter of modu-transform                         1.3011
Mean of modu-transformed data                       0.0005
St.dev. of modu-transformed data                    1.1763
Coeff. of skewness of modu-transformed data         0.0078
Coeff. of kurtosis of modu-transformed data         0.0025
Anderson-Darling's Asq of modu-transformed data     0.3838
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.962     5     5   0.009   0.009
       2    -2.610     2     7   0.004   0.013
       3    -2.258     8    15   0.015   0.028
       4    -1.906    16    31   0.030   0.058
       5    -1.554    22    53   0.041   0.099
       6    -1.202    23    76   0.043   0.143
       7    -0.850    39   115   0.073   0.216
       8    -0.498    62   177   0.116   0.332
       9    -0.146    57   234   0.107   0.439
      10     0.205    82   316   0.154   0.593
      11     0.557    51   367   0.096   0.689
      12     0.909    54   421   0.101   0.790
      13     1.261    35   456   0.066   0.856
      14     1.613    31   487   0.058   0.914
      15     1.965    15   502   0.028   0.942
      16     2.317    16   518   0.030   0.972
      17     2.669    10   528   0.019   0.991
      18     3.022     3   531   0.006   0.996
      19     3.374     2   533   0.004   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |             .              .              .              .
       3 |         .              .              .              .
       4 |     .              .              .              .
       5 |  .              .              .              .
       6 | .              .              .              .
       7 |       .              .              .
       8 |         .              .
       9 |            .              .
      10 |             .
      11 |.              .              .
      12 |              .              .
      13 |         .              .              .
      14 |            .              .              .
      15 |      .              .              .              .
      16 |     .              .              .              .
      17 |        .              .              .              .
      18 |            .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #5

 
RUN #6 at 16.05.2003 16:57:23
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\astm.txt
480 reference values read from file

LISTING OF SORTED INPUT DATA

    8.90    9.64   11.72   13.80   13.91   15.04   15.53   15.91   15.91   16.13
   16.31   16.43   16.76   16.79   16.82   16.94   17.01   17.05   17.11   17.14
   17.20   17.32   17.34   17.41   17.44   17.47   17.49   17.57   17.63   17.65
   17.75   17.81   17.97   18.08   18.16   18.22   18.23   18.26   18.26   18.28
   18.30   18.30   18.43   18.63   18.66   18.69   18.79   18.83   18.92   18.93
   18.94   18.94   18.97   18.99   19.02   19.03   19.05   19.07   19.08   19.13
   19.26   19.28   19.29   19.32   19.34   19.37   19.40   19.44   19.46   19.54
   19.58   19.59   19.62   19.63   19.69   19.69   19.74   19.75   19.78   19.82
   19.83   19.84   19.86   19.88   19.91   19.92   19.93   19.95   20.00   20.06
   20.08   20.09   20.12   20.13   20.15   20.16   20.18   20.26   20.28   20.30
   20.31   20.37   20.51   20.54   20.55   20.57   20.58   20.68   20.69   20.75
   20.76   20.83   20.91   20.99   20.99   21.00   21.03   21.05   21.06   21.07
   21.08   21.15   21.23   21.27   21.28   21.28   21.29   21.32   21.34   21.37
   21.38   21.47   21.52   21.56   21.60   21.66   21.67   21.71   21.72   21.74
   21.78   21.82   21.83   21.83   21.85   21.93   21.94   21.96   21.99   22.02
   22.03   22.04   22.06   22.07   22.08   22.12   22.12   22.13   22.14   22.17
   22.20   22.25   22.27   22.37   22.38   22.42   22.42   22.42   22.44   22.59
   22.63   22.68   22.72   22.76   22.82   22.83   22.84   22.85   22.86   22.95
   22.96   23.06   23.08   23.09   23.10   23.14   23.16   23.17   23.23   23.27
   23.30   23.30   23.32   23.43   23.43   23.45   23.47   23.50   23.50   23.58
   23.58   23.60   23.62   23.69   23.69   23.71   23.74   23.76   23.77   23.77
   23.80   23.83   23.87   23.89   23.90   23.92   23.98   23.99   24.00   24.02
   24.03   24.07   24.09   24.10   24.12   24.13   24.15   24.15   24.16   24.17
   24.18   24.19   24.22   24.24   24.31   24.34   24.34   24.40   24.47   24.47
   24.47   24.54   24.64   24.72   24.74   24.82   24.84   24.84   24.89   24.90
   24.92   24.92   24.92   24.95   24.98   25.01   25.05   25.09   25.13   25.13
   25.15   25.18   25.24   25.31   25.37   25.43   25.47   25.59   25.66   25.67
   25.69   25.71   25.75   25.80   25.87   25.88   25.89   25.89   25.90   25.90
   25.93   25.94   25.94   26.02   26.07   26.09   26.10   26.10   26.12   26.13
   26.22   26.24   26.26   26.28   26.32   26.32   26.34   26.36   26.43   26.45
   26.50   26.51   26.51   26.53   26.59   26.63   26.71   26.79   26.81   26.87
   26.88   27.07   27.08   27.13   27.14   27.15   27.18   27.23   27.23   27.23
   27.27   27.32   27.35   27.35   27.36   27.40   27.49   27.50   27.58   27.69
   27.73   27.86   27.87   28.00   28.02   28.05   28.05   28.06   28.13   28.15
   28.16   28.20   28.24   28.37   28.48   28.54   28.58   28.59   28.60   28.68
   28.78   28.85   28.88   28.94   28.98   28.99   29.20   29.26   29.41   29.43
   29.46   29.62   29.63   29.66   29.67   29.88   29.90   29.92   29.94   29.99
   30.09   30.24   30.33   30.50   30.62   30.66   30.67   30.68   30.69   30.75
   30.77   30.81   30.84   30.87   30.91   31.06   31.13   31.18   31.22   31.36
   31.42   31.83   31.92   31.97   32.06   32.20   32.21   32.27   32.32   32.33
   32.40   32.40   32.50   32.70   32.81   33.08   33.08   33.20   33.23   33.28
   33.29   33.34   33.37   33.46   33.50   33.67   33.68   33.78   33.78   34.08
   34.15   34.46   34.47   34.55   34.65   34.66   34.71   34.95   35.10   35.11
   35.12   35.33   35.60   35.66   35.75   35.83   35.87   36.08   36.09   36.35
   36.69   36.89   36.89   37.30   37.47   37.48   37.67   37.99   38.40   38.68
   38.73   38.80   38.94   40.14   40.24   40.67   41.38   42.29   42.32   42.61
   42.71   42.78   42.91   42.92   44.15   44.35   44.48   44.59   45.06   45.26
   48.31   48.32   48.48   51.89   53.67   54.25   63.99   65.18   72.14   72.62

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     12.25     3     3   0.006   0.006
       2     15.61     4     7   0.008   0.015
       3     18.96    45    52   0.094   0.108
       4     22.31   111   163   0.231   0.340
       5     25.67   107   270   0.223   0.563
       6     29.02    86   356   0.179   0.742
       7     32.38    44   400   0.092   0.833
       8     35.73    34   434   0.071   0.904
       9     39.08    19   453   0.040   0.944
      10     42.44     6   459   0.013   0.956
      11     45.79    11   470   0.023   0.979
      12     49.14     3   473   0.006   0.985
      13     52.50     1   474   0.002   0.988
      14     55.85     2   476   0.004   0.992
      15     59.21     0   476   0.000   0.992
      16     62.56     0   476   0.000   0.992
      17     65.91     2   478   0.004   0.996
      18     69.27     0   478   0.000   0.996
      19     72.62     2   480   0.004   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |            .              .              .              .
       3 | .              .              .
       4 |>
       5 |>
       6 |     .
       7 |  .              .              .
       8 |        .              .              .
       9 |  .              .              .              .
      10 |          .              .              .              .
      11 |       .              .              .              .
      12 |            .              .              .              .
      13 |             .              .              .              .
      14 |             .              .              .              .
      15 |              .              .              .              .
      16 |              .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         1.948   0.000
Coefficient of kurtosis:         6.881   0.000
Anderson-Darling's Asquare:     13.058   0.000
Cramer-von Mises's Wsquare:      2.246   0.000
Kolmogorov-Smirnov's Dmax:       0.121   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       16.44        15.53 ..   17.11
        0.975       45.05        42.78 ..   51.89

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       16.46        15.68 ..   17.23
        0.975       45.71        41.63 ..   49.79

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       15.35        14.80 ..   15.91
        0.975       45.38        42.80 ..   48.41
     ==> Transformed distribution is not Gaussian
     ==> Parametric estimates may be unreliable

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              26.2356
St.dev. of original data                            7.8988
Parameter of expo-transform                        -0.4241
Mean of expo-transformed data                      -0.1759
St.dev. of expo-transformed data                    0.8387
Coeff. of skewness of expo-transformed data        -0.0015
Coeff. of kurtosis of expo-transformed data         0.6515
Parameter of modu-transform                         0.7275
Mean of modu-transformed data                      -0.0027
St.dev. of modu-transformed data                    0.8652
Coeff. of skewness of modu-transformed data         0.0513
Coeff. of kurtosis of modu-transformed data         0.0030
Anderson-Darling's Asq of modu-transformed data     0.8392
Probability of Asq                                  0.0362

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.845     2     2   0.004   0.004
       2    -2.562     0     2   0.000   0.004
       3    -2.279     1     3   0.002   0.006
       4    -1.996     1     4   0.002   0.008
       5    -1.713     2     6   0.004   0.013
       6    -1.430     6    12   0.013   0.025
       7    -1.147    23    35   0.048   0.073
       8    -0.864    44    79   0.092   0.165
       9    -0.581    52   131   0.108   0.273
      10    -0.298    51   182   0.106   0.379
      11    -0.015    63   245   0.131   0.510
      12     0.267    61   306   0.127   0.637
      13     0.550    47   353   0.098   0.735
      14     0.833    38   391   0.079   0.815
      15     1.116    37   428   0.077   0.892
      16     1.399    25   453   0.052   0.944
      17     1.682    16   469   0.033   0.977
      18     1.965     6   475   0.013   0.990
      19     2.248     5   480   0.010   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |              .              .              .              .
       3 |             .              .              .              .
       4 |             .              .              .              .
       5 |             .              .              .              .
       6 |          .              .              .              .
       7 |.              .              .              .
       8 |  .              .              .
       9 |           .              .
      10 |            .              .
      11 |     .              .
      12 |      .              .
      13 |.              .              .
      14 |     .              .              .
      15 |      .              .              .
      16 |             .              .              .
      17 |    .              .              .              .
      18 |          .              .              .              .
      19 |           .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #6