RUN #17 at 14.05.2003 14:11:16
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\cref.txt
647 reference values read from file

LISTING OF SORTED INPUT DATA

   39.40   42.35   43.16   45.09   45.79   46.27   46.88   47.06   47.37   47.44
   49.02   49.40   49.56   50.18   50.19   50.33   51.20   51.47   51.53   51.53
   52.47   52.50   52.61   52.73   52.78   52.89   52.95   53.66   54.16   54.22
   54.27   54.29   54.40   54.90   55.10   55.10   55.39   55.43   55.50   55.53
   55.93   55.95   55.97   56.05   56.19   56.29   56.36   56.46   56.51   56.58
   56.60   56.63   56.65   56.69   56.75   56.79   57.14   57.29   57.37   57.48
   57.49   57.63   57.75   57.75   57.80   57.86   57.88   58.00   58.01   58.04
   58.08   58.13   58.28   58.30   58.38   58.44   58.56   58.60   58.61   58.62
   58.70   58.76   58.79   58.82   58.85   58.88   59.00   59.01   59.04   59.11
   59.17   59.31   59.32   59.38   59.43   59.55   59.58   59.59   59.60   59.67
   59.70   59.72   59.72   59.74   59.76   59.83   59.89   59.91   59.92   59.94
   59.96   60.00   60.07   60.08   60.14   60.17   60.23   60.30   60.32   60.35
   60.40   60.52   60.56   60.56   60.57   60.58   60.60   60.69   60.84   60.88
   60.89   60.95   61.02   61.05   61.07   61.09   61.11   61.12   61.13   61.13
   61.15   61.17   61.19   61.23   61.27   61.27   61.29   61.38   61.40   61.43
   61.56   61.58   61.65   61.67   61.68   61.69   61.82   61.85   61.86   61.90
   61.91   61.93   62.15   62.16   62.22   62.26   62.29   62.32   62.32   62.35
   62.40   62.40   62.41   62.60   62.60   62.66   62.67   62.69   62.71   62.77
   62.80   62.80   62.82   62.84   62.89   62.90   62.91   62.94   62.95   62.95
   62.98   62.99   63.06   63.06   63.06   63.08   63.12   63.13   63.17   63.19
   63.21   63.28   63.31   63.32   63.33   63.34   63.34   63.34   63.43   63.44
   63.46   63.48   63.55   63.60   63.63   63.64   63.67   63.69   63.73   63.76
   63.78   63.82   63.86   63.86   63.87   63.87   63.89   63.89   63.89   63.95
   63.96   63.98   64.03   64.04   64.10   64.14   64.14   64.19   64.22   64.23
   64.23   64.24   64.24   64.29   64.30   64.36   64.39   64.40   64.41   64.41
   64.43   64.46   64.52   64.57   64.66   64.67   64.68   64.73   64.74   64.74
   64.80   64.92   64.95   64.95   64.96   64.97   65.05   65.06   65.06   65.10
   65.11   65.14   65.14   65.19   65.24   65.24   65.29   65.36   65.39   65.41
   65.43   65.45   65.48   65.48   65.69   65.78   65.78   65.81   65.89   65.89
   65.92   65.93   65.93   66.04   66.07   66.09   66.09   66.13   66.19   66.21
   66.21   66.29   66.39   66.39   66.43   66.44   66.52   66.53   66.54   66.55
   66.58   66.62   66.63   66.64   66.69   66.70   66.71   66.71   66.74   66.78
   66.80   66.83   66.88   66.88   66.93   66.97   66.98   67.02   67.03   67.06
   67.07   67.09   67.17   67.32   67.35   67.44   67.45   67.46   67.47   67.48
   67.56   67.57   67.57   67.57   67.57   67.61   67.61   67.61   67.63   67.63
   67.63   67.67   67.68   67.71   67.72   67.74   67.76   67.78   67.83   67.85
   67.85   67.85   67.87   67.90   67.94   68.00   68.04   68.04   68.06   68.10
   68.17   68.19   68.23   68.26   68.29   68.31   68.34   68.37   68.38   68.38
   68.38   68.41   68.43   68.43   68.49   68.55   68.56   68.61   68.62   68.70
   68.72   68.72   68.72   68.73   68.74   68.75   68.75   68.79   68.85   68.90
   68.96   68.99   69.00   69.04   69.05   69.06   69.07   69.11   69.21   69.25
   69.28   69.37   69.38   69.42   69.43   69.47   69.51   69.52   69.52   69.53
   69.55   69.56   69.60   69.62   69.65   69.67   69.68   69.73   69.75   69.84
   69.85   69.87   69.91   69.91   69.91   69.92   69.92   69.94   69.95   69.98
   70.02   70.03   70.09   70.11   70.19   70.26   70.37   70.39   70.40   70.41
   70.45   70.54   70.65   70.65   70.70   70.77   70.79   70.80   70.83   70.85
   70.85   70.85   70.88   70.90   70.91   70.96   70.99   71.15   71.17   71.19
   71.24   71.25   71.28   71.29   71.37   71.37   71.43   71.43   71.44   71.55
   71.58   71.64   71.68   71.78   71.84   71.84   71.88   71.96   72.08   72.09
   72.09   72.09   72.13   72.16   72.20   72.26   72.33   72.35   72.45   72.46
   72.46   72.55   72.63   72.66   72.74   72.80   72.80   72.89   72.91   72.93
   72.98   73.08   73.13   73.24   73.29   73.30   73.37   73.39   73.39   73.42
   73.47   73.48   73.53   73.54   73.59   73.62   73.64   73.75   73.98   74.02
   74.02   74.07   74.10   74.15   74.31   74.36   74.43   74.49   74.55   74.55
   74.59   74.68   74.71   74.72   74.73   74.74   74.77   74.78   74.80   75.10
   75.18   75.19   75.20   75.39   75.43   75.44   75.52   75.58   75.65   75.68
   75.96   75.97   75.99   76.07   76.08   76.15   76.15   76.18   76.24   76.40
   76.43   76.45   76.48   76.65   76.81   77.15   77.16   77.23   77.30   77.40
   77.47   77.50   77.65   77.66   77.75   77.77   77.85   78.00   78.10   78.15
   78.26   78.30   78.33   78.45   78.53   78.56   78.64   78.71   78.75   79.06
   79.08   79.11   79.34   79.36   79.64   79.97   80.13   80.28   80.38   80.40
   80.47   81.20   81.48   81.54   81.96   82.06   82.19   82.45   82.66   82.77
   83.28   83.56   84.27   84.48   84.49   85.57   86.17   87.00   87.12   87.16
   87.52   87.53   88.25   88.99   89.38   89.54   89.55   90.37   90.94   91.06
   91.57   91.60   91.71   91.77   93.46   93.73   95.38

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     42.35     2     2   0.003   0.003
       2     45.29     2     4   0.003   0.006
       3     48.24     6    10   0.009   0.015
       4     51.19     6    16   0.009   0.025
       5     54.13    12    28   0.019   0.043
       6     57.08    28    56   0.043   0.087
       7     60.02    56   112   0.087   0.173
       8     62.97    78   190   0.121   0.294
       9     65.92   101   291   0.156   0.450
      10     68.86   108   399   0.167   0.617
      11     71.81    85   484   0.131   0.748
      12     74.76    62   546   0.096   0.844
      13     77.70    38   584   0.059   0.903
      14     80.65    27   611   0.042   0.944
      15     83.59    11   622   0.017   0.961
      16     86.54     5   627   0.008   0.969
      17     89.49     8   635   0.012   0.981
      18     92.43     9   644   0.014   0.995
      19     95.38     3   647   0.005   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |           .              .              .              .
       4 |           .              .              .              .
       5 |        .              .              .              .
       6 | .              .              .              .
       7 |   .              .              .
       8 |        .              .
       9 |            .
      10 |         .
      11 |     .              .
      12 |.              .              .
      13 |           .              .              .
      14 | .              .              .              .
      15 |         .              .              .              .
      16 |            .              .              .              .
      17 |          .              .              .              .
      18 |          .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.332   0.001
Coefficient of kurtosis:         0.960   0.001
Anderson-Darling's Asquare:      2.730   0.000
Cramer-von Mises's Wsquare:      0.407   0.000
Kolmogorov-Smirnov's Dmax:       0.052   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       50.50        47.44 ..   52.73
        0.975       87.53        84.48 ..   90.37

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       50.70        48.56 ..   52.84
        0.975       87.71        84.99 ..   90.43

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       51.10        50.07 ..   52.13
        0.975       85.36        83.97 ..   86.80

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              67.2183
St.dev. of original data                            8.3797
Parameter of expo-transform                        -0.0779
Mean of expo-transformed data                      -0.0386
St.dev. of expo-transformed data                    0.9932
Coeff. of skewness of expo-transformed data        -0.0004
Coeff. of kurtosis of expo-transformed data         0.9085
Parameter of modu-transform                         0.5457
Mean of modu-transformed data                      -0.0014
St.dev. of modu-transformed data                    0.7824
Coeff. of skewness of modu-transformed data         0.0275
Coeff. of kurtosis of modu-transformed data         0.0043
Anderson-Darling's Asq of modu-transformed data     0.3671
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.228     2     2   0.003   0.003
       2    -1.989     2     4   0.003   0.006
       3    -1.749     6    10   0.009   0.015
       4    -1.510     7    17   0.011   0.026
       5    -1.270    12    29   0.019   0.045
       6    -1.031    27    56   0.042   0.087
       7    -0.791    39    95   0.060   0.147
       8    -0.552    64   159   0.099   0.246
       9    -0.313    78   237   0.121   0.366
      10    -0.073    64   301   0.099   0.465
      11     0.165    75   376   0.116   0.581
      12     0.405    76   452   0.117   0.699
      13     0.644    61   513   0.094   0.793
      14     0.884    50   563   0.077   0.870
      15     1.123    39   602   0.060   0.930
      16     1.363    17   619   0.026   0.957
      17     1.602     8   627   0.012   0.969
      18     1.841    11   638   0.017   0.986
      19     2.081     9   647   0.014   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |           .              .              .              .
       4 |           .              .              .              .
       5 |        .              .              .              .
       6 | .              .              .              .
       7 |           .              .              .
       8 |              .              .
       9 |        .              .
      10 |              .              .
      11 |         .              .
      12 |         .              .
      13 | .              .              .
      14 |      .              .              .
      15 |           .              .              .
      16 |      .              .              .              .
      17 |          .              .              .              .
      18 |         .              .              .              .
      19 |          .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #17

 
RUN #18 at 14.05.2003 14:11:22
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\crem.txt
597 reference values read from file

LISTING OF SORTED INPUT DATA

   50.77   54.73   56.12   58.93   59.24   60.10   60.28   60.33   60.73   61.01
   61.19   61.44   62.38   62.41   62.43   62.43   62.60   62.89   63.00   63.19
   63.32   63.68   63.70   63.74   63.77   63.80   64.04   64.20   64.38   64.67
   64.75   64.89   64.98   65.08   65.34   65.36   65.41   65.44   65.52   65.57
   65.67   65.76   66.16   66.31   66.40   66.69   66.77   66.90   66.94   66.96
   67.00   67.10   67.19   67.27   67.44   67.44   67.60   67.61   67.64   67.71
   67.80   67.81   67.88   67.90   67.94   68.07   68.14   68.27   68.36   68.44
   68.51   68.53   68.56   68.57   68.61   68.64   68.82   68.86   68.89   68.96
   68.99   69.20   69.37   69.37   69.48   69.50   69.54   69.63   70.01   70.04
   70.12   70.16   70.23   70.76   70.77   70.87   70.99   70.99   71.05   71.08
   71.12   71.26   71.26   71.29   71.40   71.41   71.41   71.46   71.47   71.49
   71.50   71.52   71.62   71.69   71.72   71.74   71.81   71.83   71.97   72.02
   72.04   72.07   72.11   72.11   72.13   72.14   72.15   72.16   72.24   72.27
   72.54   72.55   72.56   72.64   72.73   72.73   72.75   72.82   72.86   72.91
   72.92   72.93   72.94   72.97   72.98   73.01   73.01   73.03   73.15   73.21
   73.24   73.25   73.27   73.34   73.35   73.36   73.40   73.50   73.68   73.71
   73.71   73.72   73.78   73.83   73.98   73.99   73.99   74.12   74.17   74.22
   74.22   74.28   74.31   74.42   74.47   74.47   74.48   74.49   74.60   74.60
   74.62   74.66   74.70   74.71   74.87   74.89   74.89   74.91   75.03   75.04
   75.08   75.08   75.12   75.13   75.14   75.27   75.30   75.35   75.36   75.41
   75.42   75.43   75.43   75.48   75.64   75.70   75.72   75.80   75.81   75.86
   75.86   75.87   75.88   75.91   76.01   76.03   76.05   76.06   76.06   76.07
   76.08   76.17   76.18   76.20   76.21   76.24   76.24   76.28   76.36   76.37
   76.38   76.40   76.40   76.42   76.43   76.45   76.46   76.53   76.54   76.58
   76.59   76.61   76.65   76.69   76.69   76.75   76.86   76.95   76.96   76.96
   76.98   77.01   77.05   77.07   77.08   77.13   77.15   77.19   77.22   77.22
   77.23   77.24   77.26   77.32   77.35   77.37   77.40   77.45   77.45   77.46
   77.46   77.54   77.54   77.58   77.61   77.62   77.65   77.69   77.86   77.88
   77.93   77.93   77.96   77.97   78.04   78.10   78.15   78.21   78.23   78.24
   78.26   78.34   78.37   78.39   78.43   78.46   78.59   78.70   78.79   78.80
   78.82   78.86   78.91   78.96   79.02   79.07   79.10   79.13   79.15   79.22
   79.24   79.28   79.31   79.36   79.37   79.38   79.51   79.52   79.69   79.71
   79.73   79.74   79.83   79.90   79.96   79.98   79.99   79.99   80.11   80.12
   80.14   80.25   80.26   80.28   80.29   80.33   80.43   80.54   80.57   80.63
   80.68   80.73   80.75   80.88   80.88   80.94   80.99   81.02   81.05   81.06
   81.06   81.11   81.13   81.17   81.17   81.26   81.28   81.29   81.31   81.34
   81.47   81.53   81.54   81.58   81.61   81.71   81.72   81.77   81.81   81.81
   81.85   81.86   81.89   81.90   81.90   81.98   82.03   82.04   82.06   82.16
   82.17   82.37   82.38   82.43   82.59   82.61   82.66   82.68   82.71   82.73
   82.73   82.77   82.79   82.90   82.92   82.93   82.99   83.09   83.16   83.16
   83.17   83.17   83.20   83.22   83.32   83.34   83.41   83.66   83.77   83.78
   83.83   83.90   83.94   83.96   84.00   84.01   84.01   84.04   84.05   84.13
   84.14   84.17   84.26   84.26   84.31   84.33   84.46   84.47   84.48   84.60
   84.65   84.68   84.74   84.81   84.88   84.90   84.92   85.06   85.08   85.22
   85.22   85.33   85.46   85.48   85.58   85.59   85.65   85.95   86.01   86.10
   86.14   86.15   86.15   86.16   86.19   86.20   86.29   86.30   86.35   86.36
   86.41   86.52   86.54   86.55   86.75   86.86   86.98   87.16   87.22   87.23
   87.26   87.41   87.51   87.71   87.73   87.79   87.80   87.82   87.89   87.94
   87.97   88.07   88.08   88.12   88.13   88.19   88.24   88.24   88.25   88.40
   88.56   88.57   88.59   88.62   88.77   88.81   88.83   88.97   89.01   89.10
   89.18   89.29   89.37   89.49   89.70   89.72   89.78   89.79   89.80   89.82
   89.82   89.99   89.99   90.03   90.06   90.11   90.42   90.52   90.76   90.80
   91.02   91.09   91.17   91.29   91.34   91.37   91.40   91.49   91.76   91.84
   91.94   92.23   92.24   92.41   92.53   92.55   92.63   92.78   92.87   92.87
   92.98   93.01   93.36   93.40   93.42   93.47   93.82   94.02   94.06   94.39
   94.57   94.65   94.69   94.80   95.06   95.11   95.43   95.51   95.56   95.73
   96.01   96.15   96.40   96.43   96.58   96.67   96.89   97.13   97.57   97.58
   97.61   97.93   97.98   98.10   98.12   98.57   99.30   99.41   99.48   99.57
   99.91  100.12  100.67  100.69  101.10  102.08  102.88  102.94  103.14  103.40
  105.41  105.81  106.83  107.27  107.55  110.49  121.26

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     54.48     1     1   0.002   0.002
       2     58.19     2     3   0.003   0.005
       3     61.90     9    12   0.015   0.020
       4     65.61    28    40   0.047   0.067
       5     69.32    42    82   0.070   0.137
       6     73.03    66   148   0.111   0.248
       7     76.74    97   245   0.162   0.410
       8     80.45    92   337   0.154   0.564
       9     84.16    84   421   0.141   0.705
      10     87.87    57   478   0.095   0.801
      11     91.58    50   528   0.084   0.884
      12     95.29    28   556   0.047   0.931
      13     99.00    20   576   0.034   0.965
      14    102.71    10   586   0.017   0.982
      15    106.42     6   592   0.010   0.992
      16    110.13     3   595   0.005   0.997
      17    113.84     1   596   0.002   0.998
      18    117.55     0   596   0.000   0.998
      19    121.26     1   597   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |         .              .              .              .
       4 |.              .              .              .
       5 |        .              .              .
       6 |           .              .
       7 |          .
       8 |             .
       9 |  .              .
      10 |.              .              .
      11 |    .              .              .
      12 |.              .              .              .
      13 |    .              .              .              .
      14 |         .              .              .              .
      15 |           .              .              .              .
      16 |            .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.409   0.000
Coefficient of kurtosis:         0.454   0.041
Anderson-Darling's Asquare:      1.584   0.000
Cramer-von Mises's Wsquare:      0.291   0.000
Kolmogorov-Smirnov's Dmax:       0.048   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       62.43        60.73 ..   63.68
        0.975      100.67        98.57 ..  103.14

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       62.41        61.16 ..   63.65
        0.975      100.68        98.34 ..  103.02

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       62.18        61.26 ..   63.12
        0.975      100.80        99.28 ..  102.35

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              79.7163
St.dev. of original data                            9.7550
Parameter of expo-transform                        -0.1259
Mean of expo-transformed data                      -0.0620
St.dev. of expo-transformed data                    0.9873
Coeff. of skewness of expo-transformed data        -0.0029
Coeff. of kurtosis of expo-transformed data         0.1486
Parameter of modu-transform                         0.9071
Mean of modu-transformed data                      -0.0003
St.dev. of modu-transformed data                    0.9515
Coeff. of skewness of modu-transformed data         0.0016
Coeff. of kurtosis of modu-transformed data        -0.0044
Anderson-Darling's Asq of modu-transformed data     0.2637
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.944     1     1   0.002   0.002
       2    -2.606     1     2   0.002   0.003
       3    -2.269     1     3   0.002   0.005
       4    -1.932     9    12   0.015   0.020
       5    -1.595    17    29   0.028   0.049
       6    -1.257    27    56   0.045   0.094
       7    -0.920    37    93   0.062   0.156
       8    -0.583    65   158   0.109   0.265
       9    -0.246    88   246   0.147   0.412
      10     0.091    82   328   0.137   0.549
      11     0.428    78   406   0.131   0.680
      12     0.765    61   467   0.102   0.782
      13     1.102    53   520   0.089   0.871
      14     1.440    35   555   0.059   0.930
      15     1.777    25   580   0.042   0.972
      16     2.114    10   590   0.017   0.988
      17     2.451     5   595   0.008   0.997
      18     2.789     1   596   0.002   0.998
      19     3.126     1   597   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |             .              .              .              .
       4 |         .              .              .              .
       5 |     .              .              .              .
       6 |.              .              .              .
       7 |          .              .              .
       8 |           .              .
       9 |.              .
      10 |   .              .
      11 |     .              .
      12 |             .              .
      13 |  .              .              .
      14 |           .              .              .
      15 | .              .              .              .
      16 |         .              .              .              .
      17 |           .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #18