RUN #27 at 14.05.2003 14:13:19
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\hdlf.txt
644 reference values read from file

LISTING OF SORTED INPUT DATA

    0.77    0.83    0.85    0.90    0.90    0.92    0.92    0.96    0.97    0.98
    0.99    1.00    1.02    1.02    1.03    1.04    1.04    1.04    1.05    1.06
    1.06    1.06    1.07    1.08    1.08    1.08    1.09    1.09    1.09    1.10
    1.10    1.11    1.11    1.11    1.12    1.13    1.14    1.14    1.14    1.14
    1.14    1.14    1.14    1.15    1.16    1.16    1.17    1.18    1.18    1.18
    1.18    1.19    1.20    1.20    1.20    1.20    1.21    1.21    1.21    1.21
    1.22    1.22    1.22    1.22    1.22    1.23    1.23    1.23    1.23    1.25
    1.25    1.25    1.25    1.26    1.26    1.27    1.27    1.27    1.28    1.28
    1.28    1.28    1.28    1.28    1.29    1.29    1.29    1.30    1.30    1.30
    1.30    1.30    1.30    1.30    1.30    1.30    1.31    1.31    1.31    1.31
    1.32    1.32    1.32    1.32    1.32    1.32    1.32    1.32    1.32    1.33
    1.33    1.33    1.33    1.33    1.33    1.33    1.34    1.34    1.34    1.34
    1.35    1.35    1.35    1.35    1.35    1.36    1.36    1.36    1.36    1.37
    1.37    1.37    1.37    1.38    1.38    1.38    1.38    1.38    1.38    1.38
    1.38    1.38    1.38    1.39    1.39    1.39    1.39    1.39    1.39    1.39
    1.39    1.40    1.40    1.40    1.40    1.40    1.40    1.40    1.40    1.40
    1.41    1.41    1.41    1.41    1.41    1.41    1.41    1.42    1.42    1.42
    1.42    1.42    1.42    1.42    1.42    1.43    1.43    1.44    1.44    1.44
    1.44    1.44    1.44    1.45    1.45    1.45    1.45    1.45    1.45    1.45
    1.45    1.45    1.45    1.45    1.46    1.46    1.46    1.46    1.46    1.47
    1.47    1.47    1.47    1.47    1.48    1.48    1.48    1.48    1.48    1.49
    1.49    1.49    1.49    1.49    1.49    1.49    1.49    1.49    1.49    1.50
    1.50    1.50    1.50    1.50    1.50    1.50    1.51    1.51    1.51    1.51
    1.51    1.52    1.52    1.52    1.52    1.53    1.53    1.53    1.53    1.54
    1.54    1.54    1.54    1.54    1.54    1.54    1.54    1.54    1.55    1.55
    1.55    1.55    1.55    1.55    1.55    1.56    1.56    1.56    1.56    1.57
    1.57    1.58    1.58    1.58    1.58    1.58    1.58    1.59    1.59    1.59
    1.59    1.59    1.59    1.59    1.59    1.59    1.59    1.59    1.59    1.59
    1.60    1.61    1.61    1.61    1.61    1.61    1.61    1.61    1.62    1.62
    1.62    1.62    1.63    1.63    1.63    1.63    1.64    1.64    1.64    1.64
    1.64    1.64    1.64    1.64    1.64    1.65    1.65    1.65    1.65    1.65
    1.65    1.66    1.66    1.66    1.66    1.66    1.67    1.67    1.67    1.67
    1.67    1.67    1.67    1.67    1.67    1.68    1.68    1.68    1.68    1.68
    1.68    1.68    1.68    1.68    1.68    1.69    1.69    1.69    1.69    1.69
    1.70    1.70    1.70    1.70    1.71    1.71    1.71    1.71    1.71    1.72
    1.72    1.72    1.72    1.72    1.72    1.72    1.73    1.73    1.73    1.73
    1.73    1.74    1.74    1.74    1.74    1.75    1.75    1.75    1.75    1.75
    1.75    1.75    1.76    1.76    1.76    1.76    1.76    1.76    1.76    1.76
    1.76    1.76    1.77    1.77    1.77    1.77    1.77    1.77    1.78    1.78
    1.78    1.78    1.78    1.78    1.78    1.79    1.79    1.79    1.79    1.79
    1.79    1.80    1.80    1.80    1.80    1.80    1.81    1.81    1.81    1.81
    1.81    1.81    1.81    1.81    1.81    1.82    1.82    1.82    1.82    1.83
    1.83    1.83    1.83    1.83    1.83    1.84    1.84    1.84    1.84    1.85
    1.85    1.85    1.86    1.86    1.86    1.87    1.87    1.87    1.87    1.87
    1.87    1.87    1.87    1.87    1.88    1.89    1.89    1.90    1.90    1.90
    1.90    1.91    1.92    1.92    1.92    1.92    1.92    1.92    1.92    1.93
    1.93    1.93    1.94    1.94    1.95    1.95    1.95    1.95    1.95    1.95
    1.95    1.95    1.96    1.96    1.96    1.96    1.97    1.97    1.97    1.97
    1.97    1.98    1.98    1.98    1.98    1.98    1.98    1.98    1.99    1.99
    2.00    2.00    2.00    2.01    2.02    2.02    2.02    2.02    2.02    2.02
    2.03    2.03    2.04    2.04    2.04    2.04    2.04    2.05    2.05    2.05
    2.05    2.05    2.05    2.06    2.06    2.06    2.06    2.07    2.07    2.07
    2.07    2.07    2.07    2.08    2.09    2.09    2.09    2.09    2.10    2.11
    2.11    2.11    2.11    2.11    2.12    2.12    2.12    2.12    2.13    2.13
    2.13    2.13    2.13    2.14    2.14    2.15    2.15    2.16    2.16    2.17
    2.17    2.17    2.17    2.17    2.20    2.20    2.20    2.21    2.21    2.21
    2.21    2.21    2.22    2.22    2.22    2.23    2.23    2.23    2.24    2.24
    2.24    2.25    2.25    2.25    2.26    2.27    2.27    2.27    2.27    2.27
    2.28    2.28    2.28    2.29    2.30    2.30    2.31    2.31    2.31    2.32
    2.32    2.33    2.35    2.36    2.36    2.36    2.36    2.37    2.38    2.39
    2.40    2.40    2.44    2.44    2.46    2.47    2.48    2.48    2.50    2.50
    2.50    2.51    2.51    2.51    2.52    2.54    2.55    2.56    2.58    2.58
    2.59    2.59    2.59    2.62    2.62    2.63    2.63    2.66    2.68    2.68
    2.70    2.71    2.71    2.75    2.79    2.85    2.87    2.90    2.95    3.00
    3.14    3.17    3.20    3.68

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      0.92     7     7   0.011   0.011
       2      1.08    19    26   0.030   0.040
       3      1.23    43    69   0.067   0.107
       4      1.38    74   143   0.115   0.222
       5      1.54   105   248   0.163   0.385
       6      1.69    92   340   0.143   0.528
       7      1.84    89   429   0.138   0.666
       8      2.00    64   493   0.099   0.766
       9      2.15    54   547   0.084   0.849
      10      2.30    39   586   0.061   0.910
      11      2.45    18   604   0.028   0.938
      12      2.61    19   623   0.030   0.967
      13      2.76    11   634   0.017   0.984
      14      2.91     4   638   0.006   0.991
      15      3.07     2   640   0.003   0.994
      16      3.22     3   643   0.005   0.998
      17      3.37     0   643   0.000   0.998
      18      3.53     0   643   0.000   0.998
      19      3.68     1   644   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |     .              .              .              .
       3 |         .              .              .
       4 |          .              .
       5 |          .
       6 | .              .
       7 |   .              .
       8 |              .              .
       9 |    .              .              .
      10 |           .              .              .
      11 |      .              .              .              .
      12 |     .              .              .              .
      13 |         .              .              .              .
      14 |            .              .              .              .
      15 |             .              .              .              .
      16 |             .              .              .              .
      17 |              .              .              .              .
      18 |              .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.706   0.000
Coefficient of kurtosis:         0.774   0.002
Anderson-Darling's Asquare:      3.929   0.000
Cramer-von Mises's Wsquare:      0.652   0.000
Kolmogorov-Smirnov's Dmax:       0.061   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        1.04         0.98 ..    1.08
        0.975        2.68         2.59 ..    2.79

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        1.04         0.99 ..    1.08
        0.975        2.67         2.58 ..    2.76

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        1.04         1.01 ..    1.06
        0.975        2.67         2.60 ..    2.74

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               1.7194
St.dev. of original data                            0.4248
Parameter of expo-transform                        -0.2404
Mean of expo-transformed data                      -0.1152
St.dev. of expo-transformed data                    0.9609
Coeff. of skewness of expo-transformed data         0.0089
Coeff. of kurtosis of expo-transformed data        -0.2430
Parameter of modu-transform                         1.1863
Mean of modu-transformed data                       0.0004
St.dev. of modu-transformed data                    1.1046
Coeff. of skewness of modu-transformed data         0.0058
Coeff. of kurtosis of modu-transformed data         0.0044
Anderson-Darling's Asq of modu-transformed data     0.1964
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -3.099     2     2   0.003   0.003
       2    -2.730     3     5   0.005   0.008
       3    -2.360     6    11   0.009   0.017
       4    -1.991    12    23   0.019   0.036
       5    -1.621    23    46   0.036   0.071
       6    -1.252    29    75   0.045   0.116
       7    -0.882    54   129   0.084   0.200
       8    -0.513    80   209   0.124   0.325
       9    -0.143    79   288   0.123   0.447
      10     0.225    94   382   0.146   0.593
      11     0.594    70   452   0.109   0.702
      12     0.964    71   523   0.110   0.812
      13     1.333    45   568   0.070   0.882
      14     1.703    34   602   0.053   0.935
      15     2.072    21   623   0.033   0.967
      16     2.442    12   635   0.019   0.986
      17     2.811     5   640   0.008   0.994
      18     3.181     3   643   0.005   0.998
      19     3.550     1   644   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |           .              .              .              .
       4 |        .              .              .              .
       5 |   .              .              .              .
       6 |.              .              .              .
       7 |    .              .              .
       8 |       .              .
       9 |       .              .
      10 |.              .
      11 |           .              .
      12 |           .              .
      13 |        .              .              .
      14 |             .              .              .
      15 |    .              .              .              .
      16 |        .              .              .              .
      17 |            .              .              .              .
      18 |             .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #27

 
RUN #28 at 14.05.2003 14:13:28
RefVal Version 4.0
Data file: C:\LAK_lsd\plasma\hdlm.txt
586 reference values read from file

LISTING OF SORTED INPUT DATA

    0.67    0.68    0.69    0.70    0.71    0.72    0.74    0.74    0.75    0.76
    0.77    0.79    0.79    0.79    0.80    0.80    0.82    0.82    0.82    0.83
    0.84    0.85    0.85    0.86    0.86    0.87    0.87    0.87    0.87    0.87
    0.88    0.88    0.89    0.90    0.90    0.90    0.90    0.90    0.92    0.92
    0.93    0.93    0.93    0.94    0.94    0.95    0.95    0.95    0.95    0.95
    0.96    0.96    0.96    0.96    0.96    0.97    0.97    0.97    0.97    0.98
    0.99    0.99    0.99    0.99    0.99    0.99    1.00    1.00    1.00    1.00
    1.00    1.00    1.01    1.01    1.01    1.01    1.02    1.02    1.02    1.02
    1.02    1.02    1.02    1.02    1.03    1.03    1.03    1.03    1.04    1.04
    1.04    1.04    1.05    1.05    1.05    1.05    1.05    1.06    1.06    1.07
    1.07    1.07    1.08    1.08    1.08    1.08    1.08    1.08    1.08    1.09
    1.09    1.09    1.09    1.09    1.10    1.10    1.10    1.10    1.11    1.11
    1.11    1.11    1.11    1.12    1.12    1.13    1.13    1.13    1.13    1.13
    1.13    1.14    1.14    1.14    1.14    1.14    1.14    1.14    1.15    1.15
    1.15    1.15    1.15    1.16    1.16    1.16    1.16    1.16    1.16    1.16
    1.17    1.17    1.17    1.17    1.17    1.17    1.17    1.18    1.18    1.18
    1.18    1.18    1.18    1.18    1.19    1.19    1.19    1.19    1.19    1.19
    1.19    1.19    1.19    1.19    1.19    1.19    1.19    1.19    1.20    1.20
    1.20    1.20    1.20    1.20    1.20    1.20    1.20    1.21    1.21    1.21
    1.21    1.21    1.21    1.21    1.22    1.22    1.22    1.22    1.22    1.22
    1.22    1.23    1.23    1.23    1.23    1.23    1.23    1.24    1.24    1.24
    1.24    1.24    1.24    1.24    1.24    1.24    1.24    1.24    1.24    1.24
    1.24    1.24    1.24    1.25    1.25    1.25    1.25    1.25    1.25    1.25
    1.25    1.25    1.25    1.25    1.26    1.26    1.26    1.26    1.26    1.26
    1.26    1.26    1.27    1.27    1.27    1.27    1.27    1.27    1.27    1.27
    1.27    1.28    1.28    1.28    1.28    1.28    1.28    1.28    1.28    1.28
    1.28    1.28    1.29    1.29    1.29    1.29    1.29    1.29    1.29    1.30
    1.30    1.30    1.30    1.30    1.30    1.30    1.30    1.30    1.30    1.31
    1.31    1.31    1.31    1.31    1.31    1.31    1.32    1.32    1.32    1.33
    1.33    1.33    1.33    1.33    1.33    1.33    1.34    1.34    1.34    1.34
    1.34    1.34    1.34    1.34    1.34    1.34    1.34    1.34    1.34    1.35
    1.35    1.35    1.35    1.35    1.35    1.35    1.35    1.35    1.36    1.36
    1.36    1.36    1.36    1.36    1.36    1.36    1.36    1.37    1.37    1.37
    1.37    1.37    1.37    1.37    1.38    1.38    1.38    1.38    1.38    1.38
    1.39    1.39    1.39    1.40    1.40    1.40    1.40    1.40    1.40    1.40
    1.40    1.40    1.41    1.41    1.41    1.42    1.42    1.42    1.42    1.42
    1.43    1.43    1.44    1.44    1.44    1.44    1.44    1.44    1.44    1.45
    1.45    1.45    1.45    1.45    1.45    1.45    1.45    1.45    1.46    1.46
    1.47    1.47    1.47    1.47    1.47    1.48    1.48    1.48    1.48    1.48
    1.49    1.49    1.49    1.49    1.49    1.49    1.50    1.50    1.50    1.51
    1.51    1.51    1.51    1.51    1.51    1.51    1.51    1.51    1.52    1.52
    1.52    1.52    1.52    1.53    1.54    1.54    1.54    1.55    1.55    1.55
    1.55    1.55    1.55    1.55    1.56    1.56    1.56    1.56    1.56    1.57
    1.57    1.57    1.57    1.57    1.57    1.58    1.58    1.58    1.58    1.58

    1.58    1.58    1.59    1.59    1.59    1.59    1.59    1.59    1.60    1.60
    1.60    1.60    1.60    1.61    1.61    1.62    1.62    1.62    1.62    1.62
    1.62    1.62    1.62    1.63    1.63    1.63    1.64    1.64    1.64    1.64
    1.64    1.64    1.65    1.65    1.65    1.66    1.66    1.66    1.66    1.66
    1.66    1.67    1.68    1.69    1.70    1.70    1.70    1.70    1.70    1.70
    1.70    1.71    1.71    1.71    1.71    1.72    1.72    1.72    1.72    1.72
    1.72    1.72    1.73    1.73    1.73    1.73    1.73    1.75    1.75    1.76
    1.76    1.77    1.77    1.77    1.77    1.79    1.79    1.79    1.79    1.80
    1.80    1.80    1.80    1.80    1.80    1.81    1.81    1.81    1.81    1.81
    1.82    1.83    1.83    1.83    1.85    1.85    1.86    1.86    1.87    1.87
    1.87    1.87    1.87    1.87    1.88    1.88    1.90    1.90    1.90    1.93
    1.93    1.96    1.96    1.97    1.98    1.98    1.98    1.98    2.01    2.02
    2.03    2.03    2.05    2.08    2.09    2.09    2.09    2.11    2.11    2.14
    2.14    2.14    2.15    2.15    2.16    2.18    2.22    2.28    2.32    2.33
    2.34    2.38    2.41    2.58    2.58    2.86

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      0.79    14    14   0.024   0.024
       2      0.90    24    38   0.041   0.065
       3      1.02    46    84   0.078   0.143
       4      1.13    47   131   0.080   0.224
       5      1.25   103   234   0.176   0.399
       6      1.36    93   327   0.159   0.558
       7      1.48    63   390   0.108   0.666
       8      1.59    58   448   0.099   0.765
       9      1.71    47   495   0.080   0.845
      10      1.82    36   531   0.061   0.906
      11      1.94    20   551   0.034   0.940
      12      2.05    12   563   0.020   0.961
      13      2.17    12   575   0.020   0.981
      14      2.28     3   578   0.005   0.986
      15      2.40     4   582   0.007   0.993
      16      2.51     1   583   0.002   0.995
      17      2.63     2   585   0.003   0.998
      18      2.74     0   585   0.000   0.998
      19      2.86     1   586   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |       .              .              .              .
       2 |  .              .              .              .
       3 |     .              .              .
       4 |     .              .              .
       5 |      .
       6 |           .
       7 |            .              .
       8 |              .              .
       9 |     .              .              .
      10 |           .              .              .
      11 |    .              .              .              .
      12 |        .              .              .              .
      13 |        .              .              .              .
      14 |            .              .              .              .
      15 |            .              .              .              .
      16 |             .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.690   0.000
Coefficient of kurtosis:         0.852   0.002
Anderson-Darling's Asquare:      3.498   0.000
Cramer-von Mises's Wsquare:      0.639   0.000
Kolmogorov-Smirnov's Dmax:       0.079   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        0.80         0.75 ..    0.85
        0.975        2.14         2.09 ..    2.28

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        0.80         0.76 ..    0.84
        0.975        2.15         2.07 ..    2.22

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        0.82         0.80 ..    0.85
        0.975        2.14         2.08 ..    2.20

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               1.3756
St.dev. of original data                            0.3376
Parameter of expo-transform                        -0.2227
Mean of expo-transformed data                      -0.1071
St.dev. of expo-transformed data                    0.9646
Coeff. of skewness of expo-transformed data        -0.0050
Coeff. of kurtosis of expo-transformed data        -0.1042
Parameter of modu-transform                         1.0757
Mean of modu-transformed data                       0.0002
St.dev. of modu-transformed data                    1.0415
Coeff. of skewness of modu-transformed data        -0.0064
Coeff. of kurtosis of modu-transformed data        -0.0068
Anderson-Darling's Asq of modu-transformed data     0.5307
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.492     6     6   0.010   0.010
       2    -2.174     8    14   0.014   0.024
       3    -1.857     9    23   0.015   0.039
       4    -1.540    17    40   0.029   0.068
       5    -1.222    32    72   0.055   0.123
       6    -0.905    37   109   0.063   0.186
       7    -0.588    41   150   0.070   0.256
       8    -0.270    84   234   0.143   0.399
       9     0.046    84   318   0.143   0.543
      10     0.363    60   378   0.102   0.645
      11     0.681    51   429   0.087   0.732
      12     0.998    54   483   0.092   0.824
      13     1.316    42   525   0.072   0.896
      14     1.633    26   551   0.044   0.940
      15     1.950    16   567   0.027   0.968
      16     2.268    10   577   0.017   0.985
      17     2.585     6   583   0.010   0.995
      18     2.902     2   585   0.003   0.998
      19     3.220     1   586   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |          .              .              .              .
       3 |         .              .              .              .
       4 |     .              .              .              .
       5 |             .              .              .
       6 |          .              .              .
       7 |        .              .              .
       8 | .              .
       9 | .              .
      10 |             .              .
      11 |   .              .              .
      12 | .              .              .
      13 |       .              .              .
      14 | .              .              .              .
      15 |      .              .              .              .
      16 |         .              .              .              .
      17 |           .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #28