RUN #9 at 16.05.2003 15:36:27
RefVal Version 4.0
Data file: C:\LAK_lsd\ckf.txt
1048 reference values read from file

LISTING OF SORTED INPUT DATA

  -19.64   13.48   19.75   20.93   24.40   25.46   25.84   26.31   26.95   27.60
   28.49   29.01   29.12   29.15   29.20   30.34   30.49   30.61   31.50   31.59
   32.20   32.52   32.52   32.54   33.18   33.31   33.63   33.67   33.91   33.94
   33.99   34.04   34.07   34.63   35.02   35.11   35.62   35.68   35.72   35.75
   35.78   35.86   36.01   36.14   36.21   36.36   36.47   36.48   36.62   36.79
   37.37   37.41   37.97   38.04   38.05   38.31   38.39   38.46   38.48   38.53
   38.74   38.77   39.14   39.17   39.37   39.63   39.77   40.07   40.20   40.51
   40.67   40.81   40.96   41.07   41.16   41.27   41.30   41.75   41.89   41.91
   41.97   42.05   42.07   42.21   42.53   42.69   42.80   42.84   42.84   42.97
   43.11   43.15   43.39   43.59   43.62   43.65   43.77   43.85   43.91   43.91
   44.10   44.16   44.30   44.56   44.71   44.86   44.92   44.97   44.98   44.99
   45.06   45.13   45.14   45.14   45.20   45.73   45.91   45.92   46.20   46.22
   46.46   46.48   46.54   46.62   46.63   46.77   47.14   47.15   47.34   47.41
   47.43   47.48   47.52   47.57   47.61   47.66   47.71   47.74   47.74   47.83
   47.87   47.89   47.96   47.97   48.12   48.14   48.14   48.21   48.21   48.21
   48.33   48.42   48.42   48.42   48.61   48.62   48.77   48.77   48.90   49.01
   49.01   49.02   49.02   49.06   49.15   49.26   49.28   49.38   49.39   49.46
   49.47   49.49   49.51   49.85   49.86   49.87   49.87   49.91   49.97   50.06
   50.18   50.23   50.31   50.33   50.42   50.48   50.49   50.71   50.77   51.17
   51.19   51.19   51.29   51.42   51.48   51.63   51.82   51.89   52.11   52.18
   52.39   52.44   52.64   52.87   53.00   53.10   53.19   53.24   53.29   53.32
   53.37   53.45   53.48   53.52   53.59   53.59   53.66   53.70   53.79   53.81
   53.85   53.86   53.89   54.04   54.09   54.12   54.12   54.20   54.25   54.32
   54.38   54.63   54.74   54.79   54.86   54.87   55.00   55.06   55.22   55.31
   55.38   55.40   55.65   55.72   56.10   56.10   56.14   56.18   56.26   56.29
   56.45   56.50   56.60   56.60   56.78   56.85   56.96   56.97   57.04   57.12
   57.14   57.19   57.23   57.31   57.31   57.37   57.39   57.41   57.41   57.43
   57.48   57.64   57.65   57.73   57.79   57.79   57.82   57.89   57.91   57.92
   57.92   57.93   58.00   58.00   58.03   58.09   58.12   58.18   58.23   58.28
   58.30   58.46   58.49   58.52   58.55   58.56   58.59   58.59   58.87   58.95
   59.06   59.09   59.12   59.17   59.22   59.22   59.31   59.47   59.48   59.54
   59.59   59.60   59.62   59.71   59.71   59.79   59.89   59.92   59.96   59.97
   60.15   60.27   60.37   60.45   60.56   60.62   60.70   60.74   60.82   60.85
   60.88   61.05   61.10   61.16   61.26   61.33   61.39   61.40   61.59   61.64
   61.74   61.76   61.91   62.08   62.14   62.27   62.34   62.36   62.38   62.61
   62.74   62.88   62.88   62.92   63.00   63.20   63.26   63.26   63.28   63.81
   63.90   63.98   64.06   64.28   64.29   64.36   64.46   64.47   64.55   64.58
   64.60   64.69   64.81   64.85   64.89   65.05   65.05   65.06   65.08   65.20
   65.24   65.28   65.30   65.31   65.32   65.33   65.38   65.44   65.44   65.46
   65.52   65.65   65.71   65.72   65.76   65.77   65.81   65.89   65.97   66.02
   66.04   66.13   66.20   66.21   66.32   66.38   66.44   66.45   66.48   66.52
   66.53   66.54   66.54   66.55   66.70   66.71   66.71   66.81   66.96   67.00
   67.05   67.06   67.07   67.20   67.47   67.51   67.56   67.58   67.63   67.65
   67.69   67.70   67.81   67.93   68.30   68.34   68.73   68.75   68.80   68.83
   68.85   68.88   68.91   69.01   69.03   69.04   69.04   69.09   69.21   69.38
   69.41   69.46   69.52   69.54   69.57   69.76   69.77   69.82   69.84   69.91
   69.92   69.94   70.00   70.05   70.09   70.23   70.36   70.37   70.59   70.71
   70.75   70.91   71.00   71.06   71.16   71.37   71.47   71.55   71.56   71.60
   71.61   71.72   71.83   71.87   71.96   72.01   72.12   72.28   72.56   72.61
   72.66   72.73   72.80   72.85   72.93   72.97   73.21   73.27   73.31   73.42
   73.52   73.53   73.65   73.66   73.68   73.80   73.88   73.89   73.89   74.06
   74.17   74.17   74.25   74.28   74.37   74.38   74.44   74.45   74.46   74.52
   74.56   74.58   74.60   74.99   75.04   75.05   75.05   75.44   75.46   75.60
   75.77   75.78   75.79   75.98   75.99   76.01   76.09   76.20   76.28   76.32
   76.45   76.55   76.62   76.71   76.71   76.90   77.01   77.10   77.26   77.30
   77.37   77.38   77.54   77.55   77.57   77.58   77.59   77.62   77.71   77.76
   77.80   77.92   77.96   77.99   78.00   78.11   78.17   78.19   78.20   78.21
   78.25   78.25   78.26   78.35   78.42   78.45   78.47   78.51   78.79   78.92
   79.05   79.06   79.10   79.12   79.15   79.50   79.54   79.66   79.69   79.83
   80.11   80.21   80.41   80.51   80.59   80.68   80.68   80.76   81.01   81.04
   81.08   81.09   81.17   81.20   81.27   81.34   81.36   81.41   81.55   81.69
   82.00   82.00   82.22   82.23   82.26   82.27   82.33   82.34   82.38   82.43
   82.48   82.66   82.75   82.76   82.85   82.94   83.07   83.21   83.24   83.37
   83.46   83.47   83.51   83.53   83.68   83.81   84.00   84.15   84.21   84.34
   84.35   84.40   84.55   84.61   84.62   84.75   84.81   84.83   84.84   84.85
   84.97   85.00   85.03   85.08   85.18   85.19   85.36   85.46   85.54   85.60
   85.69   85.72   85.81   86.16   86.32   86.35   86.36   86.42   86.50   86.51
   86.57   86.61   86.76   86.77   87.04   87.23   87.23   87.51   87.68   87.82
   87.90   88.12   88.14   88.22   88.44   88.59   88.66   88.67   88.71   88.86
   88.91   88.97   89.02   89.05   89.21   89.22   89.40   89.50   89.62   89.67
   89.71   89.86   89.90   89.92   90.01   90.04   90.10   90.27   90.32   90.33
   90.38   90.39   90.41   90.44   90.64   90.70   90.74   90.77   90.94   91.09
   91.12   91.26   91.28   91.48   91.52   91.69   91.76   91.76   91.86   91.86
   92.12   92.16   92.21   92.28   92.48   92.56   92.58   92.70   92.75   92.81
   92.86   92.92   92.94   93.00   93.18   93.34   93.43   93.44   93.49   93.63
   93.71   93.98   94.07   94.14   94.35   94.52   94.52   94.67   94.87   94.94
   95.41   95.55   95.55   95.56   95.94   96.00   96.01   96.25   96.30   96.48
   96.49   96.52   96.72   96.75   96.94   97.08   97.10   97.35   97.40   97.48
   97.52   97.54   97.72   97.75   97.79   97.93   98.02   98.11   98.13   98.14
   98.27   98.48   98.56   98.61   98.81   98.85   99.02   99.16   99.20   99.21
   99.23   99.46   99.53   99.88   99.94  100.03  100.38  100.56  100.57  100.67
  100.76  100.76  100.84  100.84  101.16  101.19  101.19  101.61  101.75  101.87
  102.06  102.14  102.19  102.39  102.67  102.88  103.01  103.21  103.49  104.61
  104.61  104.64  105.38  105.52  106.25  106.80  106.83  107.44  107.46  107.71
  108.10  108.35  108.37  108.43  108.44  108.62  108.94  109.32  109.38  109.45
  109.46  109.57  109.74  110.19  110.35  110.38  110.41  110.44  110.48  110.51
  110.51  110.62  110.81  110.90  110.94  110.94  110.96  111.00  111.04  111.23
  111.70  111.70  111.76  112.01  112.22  112.30  112.42  112.82  113.15  113.87
  113.98  114.11  114.79  114.90  115.06  115.88  115.95  116.40  116.77  116.84
  116.92  117.05  117.67  117.90  118.11  118.56  118.68  118.74  118.87  119.02
  119.19  119.22  119.36  119.39  119.64  119.74  120.05  120.46  120.54  121.06
  122.14  122.43  122.70  122.73  122.78  122.92  123.17  123.50  123.61  123.68
  124.06  124.07  124.42  124.45  125.32  126.62  126.70  126.79  127.34  127.47
  127.67  128.02  128.04  128.10  129.22  130.29  130.43  130.61  130.88  130.99
  131.67  131.89  131.89  132.23  132.67  133.17  133.20  133.30  133.56  133.60
  133.65  133.70  134.54  135.10  137.92  137.95  138.06  138.29  139.20  139.26
  139.84  140.00  140.10  140.13  141.79  141.92  142.01  143.07  143.12  143.67
  143.70  143.86  145.25  145.79  145.92  147.18  147.52  148.25  148.40  148.98
  149.50  149.68  150.96  151.02  151.15  151.19  151.29  152.13  155.40  156.16
  156.67  156.97  157.10  157.22  158.19  158.30  158.42  158.95  159.66  164.27
  164.48  165.14  167.07  168.92  172.74  173.62  173.96  175.80  176.02  178.74
  179.14  179.92  180.12  186.92  187.51  188.19  192.25  196.78  198.56  202.34
  205.26  206.67  207.61  208.79  212.92  217.98  225.27  225.93  226.80  232.86
  233.39  243.94  249.91  256.42  257.85  263.76  269.63  269.80  271.41  278.42
  295.12  338.56  340.77  363.84  416.65  423.65  465.81  477.26

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      6.51     1     1   0.001   0.001
       2     32.67    23    24   0.022   0.023
       3     58.82   274   298   0.261   0.284
       4     84.97   353   651   0.337   0.621
       5    111.12   218   869   0.208   0.829
       6    137.28    85   954   0.081   0.910
       7    163.43    45   999   0.043   0.953
       8    189.58    17  1016   0.016   0.969
       9    215.73     9  1025   0.009   0.978
      10    241.89     6  1031   0.006   0.984
      11    268.04     5  1036   0.005   0.989
      12    294.19     4  1040   0.004   0.992
      13    320.34     1  1041   0.001   0.993
      14    346.50     2  1043   0.002   0.995
      15    372.65     1  1044   0.001   0.996
      16    398.80     0  1044   0.000   0.996
      17    424.95     2  1046   0.002   0.998
      18    451.11     0  1046   0.000   0.998
      19    477.26     2  1048   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .              .              .              .
       2 |       .              .              .              .
       3 |>
       4 |>
       5 |>
       6 |     .              .              .
       7 | .              .              .              .
       8 |         .              .              .              .
       9 |           .              .              .              .
      10 |            .              .              .              .
      11 |             .              .              .              .
      12 |             .              .              .              .
      13 |              .              .              .              .
      14 |             .              .              .              .
      15 |              .              .              .              .
      16 |              .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         3.144   0.000
Coefficient of kurtosis:        16.809   0.000
Anderson-Darling's Asquare:     47.488   0.000
Cramer-von Mises's Wsquare:      8.130   0.000
Kolmogorov-Smirnov's Dmax:       0.144   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       33.38        30.61 ..   35.11
        0.975      207.40       180.12 ..  233.39

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       33.28        31.52 ..   35.04
        0.975      207.73       184.00 ..  231.46

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       29.50        27.76 ..   31.26
        0.975      192.34       180.43 ..  206.41
     ==> Transformed distribution is not Gaussian
     ==> Parametric estimates may be unreliable

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              84.7909
St.dev. of original data                           47.2906
Parameter of expo-transform                        -0.5799
Mean of expo-transformed data                      -0.2029
St.dev. of expo-transformed data                    0.7286
Coeff. of skewness of expo-transformed data        -0.0022
Coeff. of kurtosis of expo-transformed data         0.7703
Parameter of modu-transform                         0.7568
Mean of modu-transformed data                      -0.0020
St.dev. of modu-transformed data                    0.8797
Coeff. of skewness of modu-transformed data         0.0497
Coeff. of kurtosis of modu-transformed data         0.0071
Anderson-Darling's Asq of modu-transformed data     1.2390
Probability of Asq                                  0.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -4.016     1     1   0.001   0.001
       2    -3.672     0     1   0.000   0.001
       3    -3.327     0     1   0.000   0.001
       4    -2.983     0     1   0.000   0.001
       5    -2.639     0     1   0.000   0.001
       6    -2.294     1     2   0.001   0.002
       7    -1.950     3     5   0.003   0.005
       8    -1.606    16    21   0.015   0.020
       9    -1.261    49    70   0.047   0.067
      10    -0.917    99   169   0.094   0.161
      11    -0.573   129   298   0.123   0.284
      12    -0.228   141   439   0.135   0.419
      13     0.115   146   585   0.139   0.558
      14     0.459   146   731   0.139   0.698
      15     0.804   112   843   0.107   0.804
      16     1.148    92   935   0.088   0.892
      17     1.492    64   999   0.061   0.953
      18     1.837    26  1025   0.025   0.978
      19     2.181    23  1048   0.022   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .              .              .              .
       2 |              .              .              .              .
       3 |              .              .              .              .
       4 |              .              .              .              .
       5 |              .              .              .              .
       6 |              .              .              .              .
       7 |             .              .              .              .
       8 |         .              .              .              .
       9 |.              .              .              .
      10 | .              .              .
      11 |       .              .
      12 |    .              .
      13 |  .              .
      14 |  .              .
      15 |            .              .
      16 |   .              .              .
      17 |           .              .              .
      18 |       .              .              .              .
      19 |       .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #9

 
RUN #10 at 16.05.2003 15:36:43
RefVal Version 4.0
Data file: C:\LAK_lsd\ckmu50.txt
397 reference values read from file

LISTING OF SORTED INPUT DATA

   25.77   28.37   40.67   44.76   45.46   48.09   48.27   49.43   49.91   50.48
   51.26   51.37   52.47   53.84   54.19   54.21   54.92   54.92   55.97   57.80
   58.34   58.51   58.51   58.63   58.69   58.89   59.26   59.61   60.31   60.93
   60.99   61.19   61.86   62.00   62.19   62.19   62.62   63.06   64.34   64.40
   64.55   65.41   65.58   66.62   66.67   67.93   69.78   71.01   71.19   71.44
   71.68   72.11   72.32   72.38   73.70   74.03   74.09   74.37   74.53   74.69
   74.79   74.96   75.41   75.70   75.79   76.01   76.33   76.34   76.57   76.60
   76.61   76.66   77.01   77.20   77.22   77.63   78.45   78.54   78.72   79.31
   79.37   79.41   79.46   79.53   79.58   79.63   79.91   79.97   80.22   81.63
   81.88   82.05   82.28   82.47   83.09   83.12   83.29   84.54   85.30   85.30
   85.67   85.82   85.87   85.91   86.04   86.32   86.55   86.65   87.05   88.04
   88.60   88.75   88.91   89.08   89.11   89.12   89.32   89.43   89.75   90.03
   90.21   90.73   90.75   91.13   91.95   91.96   91.97   92.21   92.35   92.42
   93.50   93.61   93.69   94.31   94.32   94.60   94.84   95.72   95.95   96.08
   96.36   96.42   97.36   97.51   97.60   97.61   97.63   97.83   98.19   98.38
   98.71   98.73   99.00   99.08   99.17   99.24   99.34   99.87   99.93  100.24
  100.39  100.52  100.56  100.69  101.20  101.22  102.55  102.98  103.48  103.56
  103.73  104.46  104.81  105.03  105.10  105.40  105.47  105.66  105.75  105.90
  107.46  108.03  108.30  108.30  108.58  108.72  108.87  108.91  109.70  109.95
  110.67  110.72  110.74  111.11  111.12  111.22  111.46  111.60  112.05  112.05
  112.64  112.89  113.27  113.38  113.50  113.53  113.68  114.74  114.81  115.16
  115.58  115.63  115.93  116.30  117.06  118.11  119.45  119.91  120.19  120.47
  120.64  121.12  121.72  121.99  122.03  123.00  123.50  123.82  123.84  124.33
  124.85  124.86  125.35  126.50  126.56  128.23  128.83  129.25  130.17  130.60
  130.68  130.86  130.99  131.34  131.55  131.66  132.37  132.51  132.68  132.79
  133.15  133.50  133.91  134.26  134.38  134.39  135.74  135.80  136.13  136.48
  136.91  137.08  138.77  139.12  139.36  139.64  139.65  140.49  142.16  142.33
  143.93  144.05  144.27  145.01  145.59  145.73  145.98  146.49  147.88  148.07
  148.48  149.09  149.29  149.35  149.62  149.66  150.56  150.81  151.18  152.02
  152.20  152.69  155.71  155.76  155.87  156.44  158.06  158.87  158.96  159.04
  159.18  160.98  161.07  162.15  162.20  162.79  164.35  164.36  164.54  167.05
  167.09  168.22  169.09  169.22  170.47  170.74  170.95  171.88  172.16  172.45
  173.09  173.35  173.42  174.86  174.96  175.15  175.23  177.21  178.10  178.27
  179.66  179.90  181.18  183.35  183.67  184.63  186.37  187.71  189.54  189.94
  190.35  191.35  194.32  194.32  195.51  196.81  200.25  201.57  203.62  208.58
  210.05  217.62  218.83  222.60  223.44  224.85  225.83  227.19  228.06  230.27
  234.61  235.49  237.97  244.42  247.03  249.61  249.78  257.44  258.35  258.58
  263.26  266.81  278.31  282.16  293.40  304.89  309.03  321.45  323.54  331.49
  332.81  351.14  355.38  361.59  364.94  367.38  381.60  397.39  401.13  432.67
  447.47  454.81  486.77  503.03  510.48  690.26  726.09

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     62.63    37    37   0.093   0.093
       2     99.49   120   157   0.302   0.395
       3    136.35   102   259   0.257   0.652
       4    173.21    62   321   0.156   0.809
       5    210.06    30   351   0.076   0.884
       6    246.92    13   364   0.033   0.917
       7    283.78    10   374   0.025   0.942
       8    320.64     3   377   0.008   0.950
       9    357.50     6   383   0.015   0.965
      10    394.36     4   387   0.010   0.975
      11    431.22     2   389   0.005   0.980
      12    468.08     3   392   0.008   0.987
      13    504.94     2   394   0.005   0.992
      14    541.80     1   395   0.003   0.995
      15    578.65     0   395   0.000   0.995
      16    615.51     0   395   0.000   0.995
      17    652.37     0   395   0.000   0.995
      18    689.23     0   395   0.000   0.995
      19    726.09     2   397   0.005   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 | .              .              .
       2 |>
       3 |>
       4 |            .
       5 |      .              .              .
       6 |    .              .              .              .
       7 |      .              .              .              .
       8 |            .              .              .              .
       9 |         .              .              .              .
      10 |           .              .              .              .
      11 |            .              .              .              .
      12 |            .              .              .              .
      13 |            .              .              .              .
      14 |             .              .              .              .
      15 |              .              .              .              .
      16 |              .              .              .              .
      17 |              .              .              .              .
      18 |              .              .              .              .
      19 |            .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         2.830   0.000
Coefficient of kurtosis:        11.565   0.000
Anderson-Darling's Asquare:     24.786   0.000
Cramer-von Mises's Wsquare:      4.353   0.000
Kolmogorov-Smirnov's Dmax:       0.162   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       50.45        45.46 ..   54.21
        0.975      397.58       351.14 ..  486.77

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       50.82        47.19 ..   54.46
        0.975      394.97       332.51 ..  457.43

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       49.86        47.04 ..   52.81
        0.975      356.59       307.96 ..  452.42

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                             136.4545
St.dev. of original data                           87.6015
Parameter of expo-transform                        -0.8766
Mean of expo-transformed data                      -0.2802
St.dev. of expo-transformed data                    0.6888
Coeff. of skewness of expo-transformed data         0.0082
Coeff. of kurtosis of expo-transformed data        -0.4756
Parameter of modu-transform                         1.4117
Mean of modu-transformed data                       0.0026
St.dev. of modu-transformed data                    1.2459
Coeff. of skewness of modu-transformed data        -0.0320
Coeff. of kurtosis of modu-transformed data        -0.0039
Anderson-Darling's Asq of modu-transformed data     0.4351
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -3.852     2     2   0.005   0.005
       2    -3.487     0     2   0.000   0.005
       3    -3.121     0     2   0.000   0.005
       4    -2.756     2     4   0.005   0.010
       5    -2.390     6    10   0.015   0.025
       6    -2.025     9    19   0.023   0.048
       7    -1.660    19    38   0.048   0.096
       8    -1.294    14    52   0.035   0.131
       9    -0.929    37    89   0.093   0.224
      10    -0.563    39   128   0.098   0.322
      11    -0.198    50   178   0.126   0.448
      12     0.166    47   225   0.118   0.567
      13     0.532    43   268   0.108   0.675
      14     0.897    37   305   0.093   0.768
      15     1.263    32   337   0.081   0.849
      16     1.628    15   352   0.038   0.887
      17     1.994    18   370   0.045   0.932
      18     2.359     9   379   0.023   0.955
      19     2.724    18   397   0.045   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |              .              .              .              .
       3 |              .              .              .              .
       4 |            .              .              .              .
       5 |         .              .              .              .
       6 |       .              .              .              .
       7 |.              .              .              .
       8 |   .              .              .              .
       9 | .              .              .
      10 |.              .              .
      11 |      .              .
      12 |        .              .
      13 |            .              .
      14 | .              .              .
      15 |     .              .              .
      16 |   .              .              .              .
      17 |.              .              .              .
      18 |       .              .              .              .
      19 |.              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #10

 
RUN #11 at 16.05.2003 15:36:54
RefVal Version 4.0
Data file: C:\LAK_lsd\ckmo50.txt
404 reference values read from file

LISTING OF SORTED INPUT DATA

   32.89   33.82   35.64   35.80   36.36   36.54   37.83   38.97   39.03   39.12
   39.56   39.94   43.23   43.31   44.01   44.39   45.74   46.92   47.25   47.42
   47.79   48.02   48.46   48.77   49.08   49.17   49.62   50.47   50.83   52.60
   52.99   53.12   53.16   53.57   53.59   53.66   53.84   53.91   53.99   54.33
   54.49   54.94   55.17   55.43   55.46   56.25   56.68   57.44   57.49   57.49
   57.62   57.64   57.79   58.20   58.23   58.75   59.81   59.86   60.08   60.48
   60.96   61.01   61.68   61.75   61.83   64.44   64.74   65.28   65.40   65.93
   65.93   65.97   67.08   67.54   67.54   69.09   69.12   69.42   69.58   69.65
   69.67   69.87   70.01   70.26   70.42   70.91   71.11   71.30   71.50   71.66
   71.69   71.72   72.42   72.47   72.49   72.94   73.81   73.89   73.98   73.99
   74.22   74.68   75.12   75.54   75.70   76.21   76.45   76.56   76.65   76.87
   76.94   77.37   77.62   78.24   78.59   79.28   79.58   79.81   79.86   79.97
   79.98   80.42   80.45   80.70   80.91   81.22   81.82   82.06   82.18   82.27
   82.63   82.73   82.82   82.85   82.86   82.98   83.51   83.87   83.94   84.20
   84.42   85.32   85.43   85.53   86.03   86.39   87.32   87.78   87.85   88.13
   88.40   88.51   88.62   88.73   89.48   89.81   89.83   89.96   90.10   90.25
   90.85   91.07   91.13   91.15   91.39   91.94   91.95   92.01   93.06   93.25
   93.25   93.31   93.76   93.84   94.01   94.05   94.07   94.42   94.60   94.84
   95.22   95.30   95.33   95.42   95.86   95.95   96.25   96.50   97.50   97.67
   97.97   98.46   98.94  100.04  100.20  100.71  101.38  101.68  101.94  101.98
  102.13  102.35  102.51  102.66  103.71  103.91  103.94  104.10  104.39  104.75
  104.91  105.49  105.72  105.81  105.98  106.11  106.29  107.05  107.55  107.56
  107.90  108.07  108.08  108.25  108.53  109.51  109.63  109.71  110.10  110.15
  110.19  110.76  110.83  110.98  112.61  112.70  112.93  113.10  113.18  113.79
  114.01  114.41  114.76  114.78  115.12  115.26  115.75  115.75  116.40  116.49
  117.17  117.29  117.33  117.42  117.61  118.49  119.44  119.92  120.56  120.69
  120.78  120.80  120.83  120.97  122.52  123.43  123.51  123.69  123.84  124.51
  124.97  125.29  125.79  126.56  126.68  127.08  127.46  127.75  127.95  128.76
  128.92  131.02  131.02  131.17  132.06  132.17  132.33  132.78  132.92  132.93
  133.45  133.46  133.96  134.16  134.75  135.46  135.61  135.70  135.87  135.95
  137.35  138.83  141.38  142.47  142.79  142.82  142.99  143.75  144.98  145.26
  146.04  146.44  146.96  147.59  149.11  149.18  149.43  149.50  150.17  153.18
  153.55  154.38  154.86  155.29  156.81  156.81  160.54  160.76  161.07  162.69
  163.76  164.44  165.59  166.88  168.90  168.93  169.57  171.83  173.61  174.61
  175.54  176.43  177.62  178.34  179.04  179.07  179.22  179.74  180.02  180.64
  181.07  181.65  182.54  183.32  188.30  188.42  188.96  191.79  192.51  193.30
  198.05  198.18  198.74  198.80  199.25  200.37  205.59  205.60  207.95  208.03
  208.10  209.12  215.33  217.33  218.94  219.26  221.91  222.78  223.80  226.38
  230.64  231.02  233.53  237.74  239.05  248.96  250.75  251.63  255.25  256.35
  257.43  258.82  261.04  265.05  278.85  301.78  306.57  345.00  405.69  415.23
  435.23  475.20  486.67  564.76

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     60.88    60    60   0.149   0.149
       2     88.88    94   154   0.233   0.381
       3    116.87    96   250   0.238   0.619
       4    144.86    58   308   0.144   0.762
       5    172.86    30   338   0.074   0.837
       6    200.85    28   366   0.069   0.906
       7    228.84    14   380   0.035   0.941
       8    256.84    10   390   0.025   0.965
       9    284.83     5   395   0.012   0.978
      10    312.82     2   397   0.005   0.983
      11    340.81     0   397   0.000   0.983
      12    368.81     1   398   0.002   0.985
      13    396.80     0   398   0.000   0.985
      14    424.79     2   400   0.005   0.990
      15    452.79     1   401   0.002   0.993
      16    480.78     1   402   0.002   0.995
      17    508.77     1   403   0.002   0.998
      18    536.77     0   403   0.000   0.998
      19    564.76     1   404   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .
       2 |>
       3 |>
       4 | .              .
       5 |       .              .              .
       6 |        .              .              .
       7 |    .              .              .              .
       8 |       .              .              .              .
       9 |          .              .              .              .
      10 |             .              .              .              .
      11 |              .              .              .              .
      12 |             .              .              .              .
      13 |              .              .              .              .
      14 |             .              .              .              .
      15 |             .              .              .              .
      16 |             .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         2.429   0.000
Coefficient of kurtosis:         9.423   0.000
Anderson-Darling's Asquare:     15.694   0.000
Cramer-von Mises's Wsquare:      2.737   0.000
Kolmogorov-Smirnov's Dmax:       0.142   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       39.17        36.36 ..   45.74
        0.975      277.13       251.63 ..  415.23

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       40.15        36.10 ..   44.19
        0.975      291.62       219.26 ..  363.98

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       42.73        40.43 ..   45.15
        0.975      274.59       252.66 ..  301.92
     ==> Transformed distribution is not Gaussian
     ==> Parametric estimates may be unreliable

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                             118.4200
St.dev. of original data                           69.0859
Parameter of expo-transform                        -0.6944
Mean of expo-transformed data                      -0.2513
St.dev. of expo-transformed data                    0.7630
Coeff. of skewness of expo-transformed data         0.0088
Coeff. of kurtosis of expo-transformed data        -0.6379
Parameter of modu-transform                         1.7732
Mean of modu-transformed data                       0.0020
St.dev. of modu-transformed data                    1.5242
Coeff. of skewness of modu-transformed data        -0.0026
Coeff. of kurtosis of modu-transformed data         0.0076
Anderson-Darling's Asq of modu-transformed data     0.9558
Probability of Asq                                  0.0202

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -3.562     6     6   0.015   0.015
       2    -3.150     6    12   0.015   0.030
       3    -2.738     4    16   0.010   0.040
       4    -2.325    12    28   0.030   0.069
       5    -1.913    18    46   0.045   0.114
       6    -1.500    19    65   0.047   0.161
       7    -1.088    20    85   0.050   0.210
       8    -0.675    36   121   0.089   0.300
       9    -0.263    47   168   0.116   0.416
      10     0.149    57   225   0.141   0.557
      11     0.561    48   273   0.119   0.676
      12     0.974    35   308   0.087   0.762
      13     1.386    22   330   0.054   0.817
      14     1.799    24   354   0.059   0.876
      15     2.211    17   371   0.042   0.918
      16     2.623    14   385   0.035   0.953
      17     3.036    10   395   0.025   0.978
      18     3.448     3   398   0.007   0.985
      19     3.861     6   404   0.015   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |          .              .              .              .
       2 |          .              .              .              .
       3 |           .              .              .              .
       4 |     .              .              .              .
       5 | .              .              .              .
       6 |.              .              .              .
       7 |              .              .              .
       8 |  .              .              .
       9 |         .              .
      10 |  .              .
      11 |        .              .
      12 |   .              .              .
      13 |             .              .              .
      14 |           .              .              .
      15 | .              .              .              .
      16 |    .              .              .              .
      17 |       .              .              .              .
      18 |            .              .              .              .
      19 |          .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #11