RUN #14 at 13.05.2003 16:43:55
RefVal Version 4.0
Data file: C:\LAK_lsd\cref.txt
1391 reference values read from file

LISTING OF SORTED INPUT DATA

   36.73   41.11   44.72   44.96   45.25   46.65   46.76   47.07   47.35   47.36
   47.72   48.11   48.35   48.86   48.92   48.94   49.08   49.11   49.18   49.33
   49.87   49.94   50.09   50.15   50.16   50.16   50.18   50.33   50.34   50.45
   50.53   50.60   50.67   50.99   51.13   51.22   51.24   51.30   51.36   51.52
   51.59   51.60   51.67   51.77   51.78   52.00   52.05   52.07   52.18   52.24
   52.25   52.29   52.34   52.50   52.57   52.59   52.61   52.76   52.82   52.89
   52.98   53.02   53.02   53.14   53.19   53.24   53.27   53.29   53.30   53.33
   53.34   53.38   53.46   53.48   53.55   53.61   53.64   53.70   53.79   53.92
   53.96   54.01   54.01   54.03   54.04   54.20   54.22   54.34   54.35   54.42
   54.63   54.65   54.77   54.79   54.80   54.81   55.04   55.22   55.22   55.26
   55.39   55.41   55.43   55.43   55.47   55.47   55.59   55.62   55.65   55.65
   55.70   55.71   55.81   55.83   55.83   55.84   55.85   55.91   55.91   55.98
   55.99   56.01   56.04   56.04   56.07   56.18   56.46   56.48   56.53   56.54
   56.56   56.57   56.61   56.66   56.68   56.72   56.72   56.78   56.84   56.87
   56.88   56.88   56.88   56.89   56.89   56.92   56.97   57.01   57.12   57.15
   57.17   57.19   57.25   57.27   57.27   57.28   57.37   57.38   57.41   57.42
   57.44   57.48   57.49   57.49   57.60   57.61   57.65   57.71   57.72   57.72
   57.77   57.78   57.82   57.83   57.83   57.84   57.85   57.87   57.87   57.92
   57.97   58.02   58.02   58.05   58.09   58.10   58.13   58.23   58.26   58.27
   58.27   58.30   58.31   58.33   58.33   58.37   58.39   58.42   58.44   58.44
   58.51   58.52   58.54   58.57   58.57   58.59   58.59   58.61   58.64   58.70
   58.77   58.89   58.94   58.95   58.98   58.98   59.03   59.09   59.16   59.16
   59.17   59.19   59.25   59.30   59.30   59.31   59.37   59.37   59.42   59.49
   59.50   59.53   59.53   59.55   59.57   59.59   59.63   59.66   59.75   59.75
   59.75   59.75   59.76   59.84   59.85   59.89   59.91   59.93   59.96   60.04
   60.07   60.10   60.12   60.12   60.12   60.13   60.13   60.15   60.16   60.17
   60.18   60.19   60.19   60.20   60.20   60.21   60.22   60.22   60.23   60.23
   60.27   60.27   60.28   60.30   60.32   60.33   60.34   60.34   60.34   60.35
   60.37   60.37   60.38   60.38   60.39   60.40   60.40   60.44   60.48   60.48
   60.48   60.48   60.50   60.50   60.51   60.54   60.58   60.59   60.63   60.64
   60.64   60.65   60.66   60.66   60.66   60.70   60.71   60.71   60.76   60.76
   60.78   60.79   60.84   60.84   60.87   60.88   60.93   60.95   60.95   60.96
   60.98   61.00   61.02   61.02   61.07   61.08   61.09   61.10   61.11   61.12
   61.15   61.15   61.18   61.18   61.19   61.19   61.27   61.27   61.29   61.31
   61.33   61.37   61.38   61.39   61.40   61.41   61.41   61.41   61.42   61.44
   61.44   61.46   61.46   61.48   61.51   61.53   61.53   61.54   61.60   61.61
   61.62   61.64   61.64   61.66   61.68   61.70   61.71   61.71   61.74   61.75
   61.76   61.76   61.76   61.78   61.80   61.81   61.82   61.83   61.84   61.87
   61.90   61.90   61.94   61.95   61.97   62.02   62.03   62.06   62.06   62.06
   62.07   62.09   62.10   62.13   62.15   62.15   62.15   62.23   62.23   62.29
   62.30   62.32   62.33   62.34   62.36   62.38   62.38   62.38   62.47   62.47
   62.48   62.50   62.51   62.52   62.54   62.54   62.55   62.56   62.57   62.59
   62.63   62.64   62.69   62.71   62.76   62.77   62.78   62.79   62.81   62.82
   62.83   62.88   62.89   62.89   62.90   62.92   62.94   62.95   62.95   62.96
   62.96   62.97   62.97   63.01   63.01   63.02   63.02   63.02   63.03   63.05
   63.06   63.07   63.08   63.08   63.09   63.09   63.10   63.11   63.11   63.12
   63.13   63.13   63.13   63.13   63.15   63.17   63.18   63.19   63.19   63.19
   63.20   63.20   63.22   63.22   63.23   63.24   63.24   63.24   63.27   63.27
   63.28   63.30   63.32   63.32   63.32   63.34   63.34   63.34   63.34   63.35
   63.37   63.40   63.40   63.43   63.43   63.45   63.45   63.51   63.51   63.55
   63.55   63.60   63.68   63.69   63.70   63.71   63.71   63.73   63.74   63.74
   63.77   63.80   63.84   63.84   63.86   63.87   63.88   63.88   63.88   63.92
   63.94   63.95   63.96   63.97   63.99   63.99   64.02   64.03   64.04   64.04
   64.06   64.07   64.08   64.08   64.10   64.10   64.10   64.11   64.12   64.12
   64.12   64.13   64.15   64.15   64.16   64.16   64.17   64.18   64.18   64.21
   64.23   64.23   64.24   64.25   64.25   64.26   64.26   64.27   64.28   64.34
   64.36   64.40   64.40   64.41   64.41   64.41   64.43   64.44   64.44   64.45
   64.46   64.47   64.48   64.49   64.51   64.55   64.56   64.56   64.56   64.58
   64.61   64.62   64.63   64.65   64.66   64.68   64.68   64.69   64.69   64.69
   64.71   64.72   64.77   64.78   64.79   64.81   64.82   64.84   64.84   64.85
   64.87   64.89   64.89   64.90   64.91   64.92   64.93   64.94   64.94   64.94
   64.99   64.99   65.00   65.00   65.01   65.02   65.02   65.05   65.07   65.07
   65.09   65.09   65.10   65.12   65.14   65.14   65.14   65.18   65.24   65.24
   65.26   65.27   65.28   65.29   65.30   65.31   65.31   65.33   65.38   65.39
   65.40   65.40   65.41   65.41   65.41   65.41   65.42   65.42   65.42   65.43
   65.45   65.45   65.46   65.46   65.46   65.49   65.50   65.51   65.52   65.52
   65.53   65.54   65.54   65.55   65.59   65.60   65.62   65.62   65.62   65.63
   65.64   65.66   65.66   65.68   65.68   65.69   65.70   65.73   65.79   65.81
   65.83   65.83   65.84   65.86   65.87   65.87   65.88   65.89   65.89   65.89
   65.90   65.91   65.91   65.93   65.95   65.95   65.96   65.96   65.99   66.03
   66.06   66.08   66.12   66.13   66.14   66.16   66.19   66.23   66.25   66.25
   66.26   66.29   66.30   66.30   66.31   66.32   66.33   66.35   66.35   66.36
   66.38   66.40   66.43   66.44   66.44   66.45   66.46   66.46   66.47   66.50
   66.52   66.54   66.54   66.54   66.55   66.55   66.56   66.56   66.56   66.58
   66.58   66.60   66.60   66.61   66.64   66.65   66.66   66.68   66.68   66.69
   66.69   66.70   66.73   66.74   66.75   66.75   66.76   66.78   66.80   66.84
   66.85   66.85   66.85   66.87   66.88   66.88   66.88   66.90   66.91   66.92
   66.93   66.93   66.96   66.99   66.99   67.00   67.02   67.05   67.05   67.07
   67.07   67.10   67.10   67.13   67.13   67.13   67.13   67.13   67.15   67.15
   67.19   67.19   67.20   67.20   67.21   67.22   67.23   67.28   67.29   67.29
   67.29   67.30   67.32   67.34   67.35   67.36   67.39   67.39   67.40   67.41
   67.42   67.47   67.47   67.47   67.48   67.50   67.51   67.51   67.54   67.54
   67.57   67.57   67.59   67.59   67.59   67.61   67.61   67.63   67.64   67.66
   67.66   67.67   67.68   67.69   67.70   67.72   67.74   67.76   67.77   67.78
   67.79   67.79   67.80   67.81   67.85   67.86   67.86   67.89   67.91   67.92
   67.93   67.93   67.95   67.96   67.99   68.00   68.00   68.01   68.02   68.02
   68.03   68.05   68.06   68.06   68.11   68.12   68.13   68.13   68.14   68.20
   68.21   68.23   68.24   68.24   68.25   68.25   68.28   68.28   68.31   68.33
   68.34   68.35   68.35   68.38   68.40   68.44   68.45   68.45   68.47   68.48
   68.49   68.50   68.56   68.57   68.60   68.61   68.64   68.64   68.65   68.65
   68.65   68.66   68.66   68.67   68.68   68.70   68.72   68.73   68.73   68.74
   68.74   68.74   68.75   68.75   68.77   68.77   68.79   68.83   68.83   68.84
   68.84   68.84   68.85   68.85   68.85   68.85   68.85   68.86   68.88   68.94
   68.97   69.01   69.03   69.04   69.07   69.08   69.08   69.10   69.12   69.16
   69.17   69.17   69.19   69.25   69.31   69.34   69.37   69.37   69.38   69.42
   69.45   69.47   69.48   69.52   69.53   69.53   69.56   69.56   69.59   69.62
   69.63   69.63   69.63   69.64   69.67   69.67   69.68   69.70   69.73   69.77
   69.78   69.79   69.80   69.80   69.85   69.88   69.89   69.92   69.92   69.93
   69.95   69.97   69.97   70.00   70.01   70.02   70.04   70.04   70.07   70.10
   70.10   70.10   70.13   70.16   70.18   70.23   70.23   70.25   70.26   70.27
   70.34   70.38   70.40   70.40   70.40   70.40   70.43   70.43   70.45   70.50
   70.52   70.53   70.53   70.56   70.57   70.58   70.59   70.59   70.60   70.62
   70.63   70.65   70.65   70.66   70.66   70.68   70.72   70.75   70.75   70.77
   70.77   70.77   70.78   70.81   70.82   70.82   70.85   70.90   70.90   70.90
   70.92   70.94   70.96   70.96   70.97   70.98   70.98   70.99   71.02   71.02
   71.04   71.06   71.06   71.09   71.09   71.11   71.12   71.14   71.16   71.18
   71.23   71.23   71.27   71.28   71.29   71.32   71.33   71.38   71.40   71.40
   71.41   71.41   71.45   71.45   71.47   71.48   71.50   71.50   71.51   71.54
   71.57   71.61   71.63   71.65   71.67   71.67   71.67   71.74   71.78   71.82
   71.83   71.83   71.86   71.87   71.89   71.91   71.91   71.92   71.96   71.96
   72.02   72.02   72.04   72.11   72.14   72.17   72.18   72.18   72.19   72.19
   72.22   72.28   72.29   72.29   72.30   72.32   72.38   72.39   72.40   72.45
   72.48   72.55   72.55   72.56   72.61   72.63   72.65   72.65   72.68   72.74
   72.74   72.75   72.76   72.77   72.77   72.83   72.87   72.89   72.90   72.93
   73.03   73.10   73.12   73.13   73.15   73.16   73.20   73.30   73.31   73.32
   73.32   73.34   73.37   73.39   73.39   73.40   73.43   73.43   73.44   73.44
   73.55   73.58   73.67   73.69   73.70   73.77   73.80   73.81   73.82   73.83
   73.85   73.86   73.87   73.89   73.91   73.97   74.00   74.15   74.16   74.20
   74.22   74.26   74.27   74.28   74.30   74.31   74.31   74.31   74.35   74.40
   74.42   74.42   74.51   74.56   74.57   74.61   74.65   74.68   74.71   74.72
   74.73   74.76   74.85   74.86   74.89   74.90   74.95   74.98   74.99   75.03
   75.07   75.09   75.12   75.13   75.13   75.16   75.21   75.21   75.21   75.23
   75.32   75.39   75.55   75.55   75.58   75.58   75.62   75.65   75.73   75.75
   75.78   75.79   75.82   75.86   75.98   76.01   76.08   76.13   76.15   76.17
   76.17   76.19   76.29   76.37   76.41   76.41   76.42   76.42   76.47   76.47
   76.61   76.62   76.66   76.69   76.69   76.75   76.78   76.82   76.83   76.87
   76.95   77.08   77.13   77.18   77.18   77.19   77.20   77.20   77.23   77.24
   77.25   77.37   77.38   77.39   77.59   77.60   77.63   77.66   77.69   77.78
   77.93   78.11   78.13   78.19   78.31   78.37   78.54   78.59   78.63   78.65
   78.65   78.67   78.82   78.84   78.86   78.94   79.10   79.12   79.14   79.32
   79.34   79.57   79.57   79.57   79.69   79.72   79.80   79.91   79.93   79.94
   80.01   80.15   80.16   80.23   80.47   80.56   80.59   80.66   80.67   80.67
   80.71   80.86   80.91   80.93   80.98   81.02   81.23   81.24   81.24   81.24
   81.27   81.40   81.43   81.75   81.86   82.09   82.10   82.14   82.23   82.26
   82.58   82.66   82.69   82.86   82.92   82.98   83.01   83.02   83.11   83.14
   83.24   83.36   83.43   83.45   83.63   83.74   84.03   84.22   84.23   84.43
   84.52   84.72   85.70   85.84   86.08   86.89   86.95   87.05   87.55   87.74
   87.86   88.09   88.29   88.31   88.47   88.78   89.20   89.35   89.57   89.67
   90.31   90.80   90.82   91.40   91.43   91.77   92.18   92.77   93.44   94.55
   95.70

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     39.83     1     1   0.001   0.001
       2     42.94     1     2   0.001   0.001
       3     46.04     3     5   0.002   0.004
       4     49.14    13    18   0.009   0.013
       5     52.25    33    51   0.024   0.037
       6     55.35    49   100   0.035   0.072
       7     58.46   100   200   0.072   0.144
       8     61.56   158   358   0.114   0.257
       9     64.66   227   585   0.163   0.421
      10     67.77   254   839   0.183   0.603
      11     70.87   198  1037   0.142   0.746
      12     73.97   139  1176   0.100   0.845
      13     77.08    86  1262   0.062   0.907
      14     80.18    51  1313   0.037   0.944
      15     83.29    38  1351   0.027   0.971
      16     86.39    14  1365   0.010   0.981
      17     89.49    13  1378   0.009   0.991
      18     92.60     9  1387   0.006   0.997
      19     95.70     4  1391   0.003   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .              .              .              .
       2 |              .              .              .              .
       3 |             .              .              .              .
       4 |           .              .              .              .
       5 |       .              .              .              .
       6 |   .              .              .              .
       7 |       .              .              .
       8 |          .              .
       9 |          .
      10 |    .
      11 | .              .
      12 |              .              .
      13 |          .              .              .
      14 |   .              .              .              .
      15 |      .              .              .              .
      16 |           .              .              .              .
      17 |           .              .              .              .
      18 |            .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.337   0.000
Coefficient of kurtosis:         0.732   0.000
Anderson-Darling's Asquare:      4.388   0.000
Cramer-von Mises's Wsquare:      0.752   0.000
Kolmogorov-Smirnov's Dmax:       0.049   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       51.10        50.16 ..   52.00
        0.975       84.07        82.98 ..   86.95

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       51.01        50.11 ..   51.91
        0.975       84.08        82.43 ..   85.73

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       51.25        50.64 ..   51.87
        0.975       83.83        82.95 ..   84.72

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              66.4408
St.dev. of original data                            8.0434
Parameter of expo-transform                        -0.0891
Mean of expo-transformed data                      -0.0442
St.dev. of expo-transformed data                    0.9924
Coeff. of skewness of expo-transformed data        -0.0095
Coeff. of kurtosis of expo-transformed data         0.6218
Parameter of modu-transform                         0.6578
Mean of modu-transformed data                      -0.0005
St.dev. of modu-transformed data                    0.8313
Coeff. of skewness of modu-transformed data         0.0054
Coeff. of kurtosis of modu-transformed data        -0.0026
Anderson-Darling's Asq of modu-transformed data     0.2957
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.782     1     1   0.001   0.001
       2    -2.495     1     2   0.001   0.001
       3    -2.209     3     5   0.002   0.004
       4    -1.922     8    13   0.006   0.009
       5    -1.636    22    35   0.016   0.025
       6    -1.350    46    81   0.033   0.058
       7    -1.063    56   137   0.040   0.098
       8    -0.777    91   228   0.065   0.164
       9    -0.491   156   384   0.112   0.276
      10    -0.204   182   566   0.131   0.407
      11     0.081   188   754   0.135   0.542
      12     0.368   189   943   0.136   0.678
      13     0.654   159  1102   0.114   0.792
      14     0.940   110  1212   0.079   0.871
      15     1.227    74  1286   0.053   0.925
      16     1.513    52  1338   0.037   0.962
      17     1.799    27  1365   0.019   0.981
      18     2.086    16  1381   0.012   0.993
      19     2.372    10  1391   0.007   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .              .              .              .
       2 |              .              .              .              .
       3 |             .              .              .              .
       4 |            .              .              .              .
       5 |         .              .              .              .
       6 |    .              .              .              .
       7 |  .              .              .              .
       8 |         .              .              .
       9 |          .              .
      10 |     .              .
      11 |   .              .
      12 |   .              .
      13 |          .              .
      14 |     .              .              .
      15 |             .              .              .
      16 |   .              .              .              .
      17 |        .              .              .              .
      18 |           .              .              .              .
      19 |            .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #14

 
RUN #15 at 13.05.2003 16:44:17
RefVal Version 4.0
Data file: C:\LAK_lsd\crem.txt
1243 reference values read from file

LISTING OF SORTED INPUT DATA

   55.03   56.32   57.51   58.68   59.69   59.78   60.02   60.12   60.29   60.46
   60.67   60.87   61.13   61.28   61.33   61.33   61.43   61.54   62.28   62.31
   62.66   62.75   62.87   63.00   63.06   63.06   63.26   63.32   63.55   63.59
   63.60   63.73   63.86   63.87   63.89   63.90   63.91   64.06   64.13   64.22
   64.31   64.46   64.47   64.54   64.60   64.62   64.69   64.72   64.75   65.11
   65.12   65.24   65.25   65.31   65.31   65.36   65.57   65.63   65.63   65.64
   65.68   65.74   65.74   65.76   65.77   65.78   65.82   65.88   65.91   66.02
   66.10   66.21   66.23   66.34   66.39   66.40   66.40   66.40   66.43   66.50
   66.51   66.54   66.58   66.58   66.60   66.69   66.90   66.94   67.10   67.12
   67.15   67.18   67.22   67.25   67.25   67.27   67.35   67.38   67.41   67.47
   67.53   67.57   67.61   67.62   67.74   67.77   67.81   67.99   68.02   68.03
   68.04   68.19   68.26   68.28   68.33   68.34   68.35   68.41   68.46   68.50
   68.52   68.53   68.62   68.73   68.75   68.75   68.81   68.83   68.90   68.91
   68.92   69.00   69.00   69.09   69.10   69.15   69.20   69.22   69.24   69.26
   69.31   69.31   69.35   69.42   69.44   69.48   69.53   69.60   69.68   69.71
   69.73   69.78   69.78   69.84   69.87   69.92   69.93   69.95   70.05   70.08
   70.08   70.09   70.13   70.13   70.15   70.17   70.19   70.25   70.26   70.27
   70.27   70.29   70.30   70.32   70.36   70.37   70.45   70.51   70.52   70.55
   70.57   70.58   70.63   70.66   70.71   70.71   70.76   70.77   70.80   70.87
   70.90   70.91   70.96   70.99   71.01   71.03   71.03   71.08   71.08   71.11
   71.12   71.19   71.20   71.25   71.28   71.28   71.29   71.30   71.31   71.31
   71.33   71.34   71.36   71.36   71.40   71.41   71.42   71.48   71.50   71.54
   71.54   71.55   71.57   71.57   71.58   71.59   71.60   71.61   71.62   71.65
   71.68   71.69   71.69   71.74   71.79   71.79   71.80   71.80   71.83   71.83
   71.84   71.87   71.90   71.91   71.93   71.93   71.95   71.96   71.96   71.97
   71.97   71.99   72.00   72.04   72.04   72.14   72.24   72.24   72.25   72.26
   72.26   72.32   72.34   72.35   72.37   72.38   72.40   72.42   72.46   72.47
   72.47   72.50   72.54   72.56   72.61   72.67   72.71   72.71   72.73   72.73
   72.74   72.74   72.75   72.77   72.79   72.86   72.87   72.90   72.91   72.92
   72.94   72.94   72.95   72.98   73.00   73.00   73.02   73.09   73.11   73.17
   73.19   73.23   73.24   73.24   73.28   73.30   73.32   73.34   73.34   73.40
   73.43   73.44   73.44   73.47   73.49   73.52   73.54   73.55   73.56   73.59
   73.60   73.61   73.65   73.67   73.69   73.69   73.71   73.71   73.72   73.75
   73.78   73.79   73.79   73.79   73.80   73.84   73.84   73.84   73.85   73.85
   73.88   73.88   73.90   73.90   73.91   73.92   73.93   73.95   74.01   74.03
   74.04   74.09   74.13   74.13   74.14   74.17   74.18   74.19   74.20   74.20
   74.20   74.21   74.25   74.30   74.33   74.33   74.34   74.35   74.44   74.45
   74.45   74.46   74.47   74.50   74.50   74.52   74.56   74.56   74.57   74.57
   74.58   74.63   74.63   74.64   74.64   74.64   74.65   74.67   74.76   74.76
   74.80   74.80   74.80   74.81   74.83   74.85   74.85   74.85   74.89   74.93
   74.94   74.97   75.02   75.04   75.04   75.07   75.10   75.15   75.15   75.19
   75.20   75.20   75.23   75.25   75.29   75.32   75.36   75.38   75.38   75.39
   75.39   75.40   75.44   75.46   75.46   75.46   75.46   75.47   75.49   75.50
   75.50   75.54   75.54   75.54   75.56   75.60   75.62   75.63   75.68   75.68
   75.72   75.73   75.76   75.79   75.79   75.79   75.82   75.83   75.83   75.83
   75.88   75.92   75.93   75.95   75.97   76.01   76.01   76.02   76.03   76.05
   76.08   76.08   76.10   76.12   76.13   76.14   76.16   76.17   76.17   76.20
   76.23   76.24   76.25   76.26   76.26   76.29   76.30   76.34   76.38   76.40
   76.41   76.43   76.44   76.45   76.46   76.48   76.49   76.49   76.49   76.50
   76.51   76.51   76.53   76.54   76.56   76.56   76.58   76.58   76.61   76.62
   76.68   76.68   76.71   76.71   76.72   76.73   76.75   76.75   76.76   76.78
   76.79   76.83   76.83   76.86   76.87   76.88   76.88   76.88   76.89   76.90
   76.90   76.91   76.92   76.92   76.93   76.98   76.99   77.05   77.06   77.06
   77.07   77.08   77.11   77.12   77.12   77.13   77.19   77.20   77.21   77.21
   77.24   77.25   77.25   77.27   77.33   77.33   77.35   77.36   77.39   77.41
   77.44   77.44   77.46   77.47   77.50   77.50   77.51   77.54   77.56   77.56
   77.59   77.60   77.62   77.62   77.63   77.72   77.76   77.79   77.79   77.82
   77.83   77.83   77.85   77.85   77.86   77.90   77.93   77.94   77.94   77.96
   77.97   77.98   78.02   78.03   78.04   78.06   78.07   78.07   78.10   78.12
   78.13   78.13   78.14   78.15   78.19   78.23   78.27   78.28   78.32   78.35
   78.35   78.36   78.37   78.39   78.41   78.43   78.44   78.47   78.48   78.51
   78.53   78.54   78.54   78.55   78.57   78.57   78.57   78.62   78.64   78.65
   78.66   78.68   78.68   78.68   78.69   78.72   78.77   78.78   78.82   78.82
   78.85   78.85   78.87   78.91   78.92   78.97   78.97   78.99   79.01   79.02
   79.03   79.07   79.07   79.07   79.07   79.09   79.09   79.10   79.10   79.11
   79.12   79.12   79.12   79.13   79.13   79.16   79.16   79.17   79.17   79.18
   79.19   79.24   79.31   79.32   79.32   79.34   79.37   79.39   79.40   79.41
   79.41   79.45   79.45   79.47   79.48   79.48   79.50   79.51   79.59   79.60
   79.66   79.68   79.70   79.70   79.71   79.73   79.74   79.75   79.81   79.83
   79.83   79.83   79.84   79.84   79.85   79.85   79.86   79.87   79.90   79.94
   79.96   79.97   80.00   80.06   80.06   80.07   80.08   80.09   80.09   80.10
   80.10   80.22   80.24   80.25   80.29   80.29   80.29   80.31   80.32   80.35
   80.40   80.40   80.40   80.45   80.48   80.48   80.52   80.52   80.53   80.54
   80.55   80.58   80.60   80.60   80.65   80.65   80.68   80.68   80.70   80.71
   80.73   80.75   80.76   80.81   80.84   80.84   80.93   80.95   80.95   80.97
   80.97   80.97   80.99   81.01   81.02   81.03   81.07   81.11   81.12   81.13
   81.13   81.16   81.16   81.18   81.19   81.28   81.29   81.31   81.32   81.32
   81.33   81.35   81.38   81.40   81.41   81.47   81.48   81.50   81.52   81.52
   81.56   81.57   81.58   81.60   81.61   81.64   81.64   81.64   81.65   81.66
   81.66   81.66   81.71   81.72   81.75   81.78   81.84   81.86   81.88   81.93
   81.95   81.99   82.00   82.00   82.01   82.01   82.02   82.03   82.04   82.04
   82.15   82.17   82.20   82.21   82.21   82.24   82.25   82.25   82.25   82.28
   82.28   82.33   82.44   82.44   82.48   82.48   82.49   82.49   82.50   82.52
   82.53   82.54   82.54   82.56   82.61   82.62   82.65   82.72   82.73   82.74
   82.75   82.78   82.78   82.82   82.83   82.83   82.84   82.88   82.91   82.94
   82.96   83.00   83.03   83.05   83.12   83.15   83.15   83.20   83.21   83.22
   83.22   83.24   83.25   83.27   83.31   83.32   83.32   83.34   83.34   83.40
   83.44   83.52   83.53   83.54   83.56   83.59   83.63   83.68   83.75   83.76
   83.77   83.78   83.83   83.84   83.87   83.88   83.90   83.91   83.94   83.96
   84.02   84.04   84.05   84.08   84.09   84.10   84.11   84.12   84.22   84.23
   84.23   84.24   84.26   84.26   84.30   84.31   84.33   84.56   84.58   84.59
   84.61   84.61   84.62   84.66   84.69   84.70   84.72   84.75   84.76   84.77
   84.84   84.84   84.91   84.93   84.94   84.96   84.99   85.06   85.07   85.10
   85.10   85.10   85.12   85.19   85.21   85.25   85.29   85.29   85.35   85.41
   85.45   85.46   85.53   85.55   85.56   85.59   85.61   85.63   85.65   85.66
   85.67   85.68   85.74   85.75   85.75   85.76   85.83   85.86   85.87   85.88
   85.92   85.94   85.95   85.96   86.00   86.02   86.08   86.09   86.10   86.12
   86.14   86.18   86.19   86.22   86.34   86.35   86.36   86.43   86.46   86.47
   86.55   86.57   86.59   86.60   86.61   86.63   86.63   86.64   86.65   86.69
   86.73   86.73   86.73   86.73   86.79   86.84   86.85   86.87   86.94   86.96
   87.04   87.08   87.10   87.20   87.22   87.23   87.27   87.34   87.35   87.36
   87.41   87.41   87.45   87.48   87.60   87.67   87.69   87.70   87.73   87.81
   87.85   87.89   87.92   87.93   87.94   87.98   87.99   88.00   88.06   88.06
   88.10   88.12   88.13   88.13   88.17   88.20   88.20   88.26   88.28   88.28
   88.29   88.30   88.32   88.37   88.37   88.37   88.41   88.45   88.46   88.47
   88.53   88.53   88.60   88.64   88.68   88.73   88.74   88.79   88.79   88.91
   88.95   88.95   88.99   89.01   89.02   89.04   89.09   89.11   89.23   89.24
   89.30   89.30   89.30   89.35   89.37   89.39   89.60   89.71   89.81   89.81
   89.84   89.96   90.03   90.04   90.12   90.15   90.24   90.36   90.40   90.43
   90.50   90.52   90.57   90.63   90.66   90.66   90.83   90.85   90.86   90.88
   90.91   90.94   91.11   91.13   91.15   91.33   91.36   91.38   91.40   91.48
   91.58   91.59   91.64   91.65   91.77   91.79   91.81   91.86   91.89   91.89
   91.91   92.01   92.07   92.11   92.19   92.20   92.21   92.23   92.30   92.32
   92.38   92.48   92.48   92.49   92.52   92.60   92.63   92.63   92.68   92.72
   92.86   92.86   92.88   92.91   93.01   93.04   93.12   93.14   93.15   93.39
   93.54   93.58   93.61   93.63   93.64   93.75   93.80   93.80   93.92   93.93
   94.15   94.18   94.19   94.22   94.29   94.35   94.44   94.48   94.50   94.55
   94.57   94.68   94.76   94.81   95.03   95.35   95.36   95.48   95.50   95.70
   95.79   96.50   96.51   96.60   96.60   96.75   96.82   97.02   97.38   97.38
   97.64   97.77   97.78   97.79   97.84   97.93   98.08   98.14   98.15   98.60
   98.62   98.63   98.65   99.03   99.48   99.55   99.62   99.65   99.74   99.82
   99.84   99.94   99.99  100.45  100.47  100.59  100.61  100.66  100.88  101.33
  101.41  101.77  102.02  102.22  102.42  102.84  103.18  103.40  103.43  104.02
  104.62  104.76  104.80  105.57  105.86  106.69  109.17  111.12  112.12  112.20
  122.54  125.34  130.28

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1     58.99     4     4   0.003   0.003
       2     62.95    19    23   0.015   0.019
       3     66.91    64    87   0.051   0.070
       4     70.87   103   190   0.083   0.153
       5     74.83   205   395   0.165   0.318
       6     78.79   233   628   0.187   0.505
       7     82.75   213   841   0.171   0.677
       8     86.71   149   990   0.120   0.796
       9     90.67   106  1096   0.085   0.882
      10     94.64    75  1171   0.060   0.942
      11     98.60    29  1200   0.023   0.965
      12    102.56    25  1225   0.020   0.986
      13    106.52    10  1235   0.008   0.994
      14    110.48     2  1237   0.002   0.995
      15    114.44     3  1240   0.002   0.998
      16    118.40     0  1240   0.000   0.998
      17    122.36     0  1240   0.000   0.998
      18    126.32     2  1242   0.002   0.999
      19    130.28     1  1243   0.001   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |         .              .              .              .
       3 |              .              .              .
       4 |    .              .              .
       5 |          .
       6 |   .
       7 |        .
       8 |        .              .
       9 |   .              .              .
      10 |           .              .              .
      11 |       .              .              .              .
      12 |        .              .              .              .
      13 |            .              .              .              .
      14 |              .              .              .              .
      15 |             .              .              .              .
      16 |              .              .              .              .
      17 |              .              .              .              .
      18 |              .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.685   0.000
Coefficient of kurtosis:         1.435   0.000
Anderson-Darling's Asquare:      5.057   0.000
Cramer-von Mises's Wsquare:      0.894   0.000
Kolmogorov-Smirnov's Dmax:       0.051   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       63.61        62.75 ..   64.31
        0.975       99.98        98.65 ..  101.77

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       63.65        62.88 ..   64.42
        0.975      100.15        98.95 ..  101.35

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025       63.67        63.12 ..   64.24
        0.975      100.35        99.22 ..  101.52

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                              79.6044
St.dev. of original data                            9.2929
Parameter of expo-transform                        -0.1819
Mean of expo-transformed data                      -0.0881
St.dev. of expo-transformed data                    0.9698
Coeff. of skewness of expo-transformed data         0.0078
Coeff. of kurtosis of expo-transformed data         0.1752
Parameter of modu-transform                         0.8885
Mean of modu-transformed data                      -0.0002
St.dev. of modu-transformed data                    0.9421
Coeff. of skewness of modu-transformed data         0.0075
Coeff. of kurtosis of modu-transformed data        -0.0090
Anderson-Darling's Asq of modu-transformed data     0.2180
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.746     2     2   0.002   0.002
       2    -2.410     2     4   0.002   0.003
       3    -2.075    14    18   0.011   0.014
       4    -1.740    25    43   0.020   0.035
       5    -1.404    45    88   0.036   0.071
       6    -1.069    62   150   0.050   0.121
       7    -0.733   121   271   0.097   0.218
       8    -0.398   144   415   0.116   0.334
       9    -0.063   181   596   0.146   0.479
      10     0.272   171   767   0.138   0.617
      11     0.607   146   913   0.117   0.735
      12     0.942   130  1043   0.105   0.839
      13     1.278    88  1131   0.071   0.910
      14     1.613    56  1187   0.045   0.955
      15     1.948    35  1222   0.028   0.983
      16     2.284    14  1236   0.011   0.994
      17     2.619     4  1240   0.003   0.998
      18     2.954     0  1240   0.000   0.998
      19     3.290     3  1243   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |              .              .              .              .
       2 |              .              .              .              .
       3 |           .              .              .              .
       4 |        .              .              .              .
       5 |   .              .              .              .
       6 |              .              .              .
       7 |.              .              .
       8 |         .              .
       9 |.              .
      10 |   .              .
      11 |         .              .
      12 |             .              .
      13 |        .              .              .
      14 |.              .              .              .
      15 |      .              .              .              .
      16 |           .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #15