RUN #53 at 14.05.2003 17:27:31
RefVal Version 4.0
Data file: C:\LAK_lsd\gluf.txt
482 reference values read from file

LISTING OF SORTED INPUT DATA

    3.34    3.47    3.69    3.70    3.71    3.80    3.86    3.91    3.91    3.91
    3.94    3.94    3.95    3.96    3.96    3.96    3.98    4.04    4.05    4.06
    4.06    4.07    4.08    4.09    4.09    4.10    4.11    4.11    4.12    4.14
    4.14    4.16    4.17    4.18    4.18    4.19    4.19    4.19    4.19    4.19
    4.20    4.20    4.21    4.22    4.23    4.23    4.24    4.24    4.24    4.25
    4.26    4.26    4.26    4.27    4.28    4.28    4.28    4.28    4.29    4.30
    4.30    4.31    4.31    4.32    4.32    4.33    4.33    4.33    4.33    4.34
    4.34    4.35    4.35    4.35    4.35    4.35    4.36    4.36    4.36    4.36
    4.36    4.37    4.38    4.38    4.39    4.39    4.39    4.39    4.40    4.40
    4.40    4.41    4.41    4.42    4.42    4.42    4.42    4.42    4.43    4.43
    4.43    4.43    4.44    4.44    4.44    4.44    4.44    4.45    4.45    4.45
    4.45    4.46    4.46    4.46    4.46    4.46    4.46    4.47    4.47    4.47
    4.48    4.48    4.48    4.49    4.49    4.49    4.49    4.49    4.49    4.50
    4.50    4.50    4.50    4.51    4.51    4.51    4.51    4.51    4.52    4.52
    4.53    4.53    4.53    4.54    4.54    4.54    4.54    4.54    4.55    4.56
    4.56    4.56    4.56    4.56    4.56    4.57    4.57    4.57    4.57    4.57
    4.58    4.58    4.58    4.58    4.58    4.58    4.58    4.58    4.59    4.60
    4.60    4.60    4.60    4.60    4.61    4.61    4.61    4.62    4.62    4.62
    4.63    4.63    4.63    4.63    4.64    4.64    4.64    4.64    4.64    4.64
    4.64    4.64    4.64    4.64    4.65    4.65    4.65    4.66    4.66    4.67
    4.67    4.67    4.67    4.67    4.67    4.67    4.67    4.68    4.68    4.68
    4.68    4.68    4.68    4.68    4.68    4.68    4.69    4.69    4.69    4.69
    4.70    4.70    4.71    4.71    4.71    4.71    4.71    4.71    4.72    4.72
    4.72    4.73    4.73    4.73    4.73    4.74    4.74    4.74    4.74    4.74
    4.74    4.74    4.75    4.75    4.75    4.75    4.75    4.75    4.76    4.76
    4.76    4.76    4.77    4.77    4.77    4.77    4.77    4.78    4.78    4.78
    4.78    4.78    4.78    4.78    4.79    4.79    4.79    4.79    4.79    4.80
    4.80    4.80    4.80    4.80    4.80    4.80    4.81    4.81    4.81    4.82
    4.82    4.82    4.82    4.82    4.82    4.83    4.83    4.83    4.83    4.83
    4.83    4.83    4.83    4.83    4.84    4.84    4.84    4.84    4.84    4.85
    4.85    4.86    4.86    4.86    4.86    4.86    4.87    4.87    4.87    4.87
    4.88    4.88    4.88    4.88    4.88    4.89    4.89    4.89    4.89    4.89
    4.89    4.90    4.90    4.90    4.90    4.91    4.91    4.92    4.92    4.93
    4.93    4.93    4.93    4.93    4.94    4.94    4.94    4.94    4.95    4.95
    4.95    4.95    4.95    4.95    4.95    4.96    4.97    4.97    4.98    4.98
    4.98    4.98    4.98    4.99    4.99    4.99    5.00    5.00    5.00    5.00
    5.00    5.01    5.01    5.02    5.02    5.02    5.03    5.03    5.04    5.04
    5.04    5.04    5.04    5.04    5.04    5.04    5.04    5.05    5.05    5.06
    5.06    5.07    5.08    5.09    5.10    5.10    5.10    5.10    5.10    5.11
    5.11    5.11    5.11    5.11    5.13    5.13    5.13    5.13    5.14    5.14
    5.14    5.15    5.17    5.18    5.18    5.18    5.18    5.20    5.20    5.23
    5.23    5.24    5.24    5.25    5.25    5.26    5.28    5.29    5.30    5.30
    5.30    5.31    5.31    5.31    5.32    5.32    5.32    5.33    5.33    5.34
    5.35    5.35    5.35    5.36    5.36    5.37    5.37    5.38    5.40    5.41
    5.43    5.43    5.45    5.45    5.45    5.46    5.52    5.53    5.53    5.53
    5.53    5.55    5.57    5.57    5.59    5.60    5.60    5.61    5.62    5.63
    5.64    5.65    5.66    5.68    5.69    5.70    5.84    5.85    5.85    5.86
    5.87    5.92    5.94    5.95    5.98    5.99    6.00    6.00    6.12    6.13
    6.42    6.67

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      3.52     2     2   0.004   0.004
       2      3.69     1     3   0.002   0.006
       3      3.87     4     7   0.008   0.015
       4      4.04    11    18   0.023   0.037
       5      4.22    26    44   0.054   0.091
       6      4.39    44    88   0.091   0.183
       7      4.57    72   160   0.149   0.332
       8      4.74    82   242   0.170   0.502
       9      4.92    87   329   0.180   0.683
      10      5.09    55   384   0.114   0.797
      11      5.27    32   416   0.066   0.863
      12      5.44    26   442   0.054   0.917
      13      5.62    17   459   0.035   0.952
      14      5.79     7   466   0.015   0.967
      15      5.97     8   474   0.017   0.983
      16      6.14     6   480   0.012   0.996
      17      6.32     0   480   0.000   0.996
      18      6.49     1   481   0.002   0.998
      19      6.67     1   482   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |            .              .              .              .
       4 |       .              .              .              .
       5 |             .              .              .
       6 |  .              .              .
       7 |              .
       8 |        .
       9 |     .
      10 |          .              .
      11 |         .              .              .
      12 |             .              .              .
      13 |   .              .              .              .
      14 |          .              .              .              .
      15 |         .              .              .              .
      16 |          .              .              .              .
      17 |              .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.537   0.000
Coefficient of kurtosis:         1.093   0.001
Anderson-Darling's Asquare:      2.891   0.000
Cramer-von Mises's Wsquare:      0.492   0.000
Kolmogorov-Smirnov's Dmax:       0.069   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.94         3.86 ..    4.05
        0.975        5.87         5.68 ..    5.99

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.94         3.87 ..    4.02
        0.975        5.88         5.75 ..    6.01

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.93         3.88 ..    3.99
        0.975        5.80         5.70 ..    5.90

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               4.7738
St.dev. of original data                            0.4593
Parameter of expo-transform                        -0.1324
Mean of expo-transformed data                      -0.0649
St.dev. of expo-transformed data                    0.9818
Coeff. of skewness of expo-transformed data        -0.0062
Coeff. of kurtosis of expo-transformed data         0.8011
Parameter of modu-transform                         0.6033
Mean of modu-transformed data                      -0.0014
St.dev. of modu-transformed data                    0.8073
Coeff. of skewness of modu-transformed data         0.0265
Coeff. of kurtosis of modu-transformed data         0.0072
Anderson-Darling's Asq of modu-transformed data     0.2251
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.387     2     2   0.004   0.004
       2    -2.124     0     2   0.000   0.004
       3    -1.861     3     5   0.006   0.010
       4    -1.599     5    10   0.010   0.021
       5    -1.336    12    22   0.025   0.046
       6    -1.073    21    43   0.044   0.089
       7    -0.810    28    71   0.058   0.147
       8    -0.548    52   123   0.108   0.255
       9    -0.285    54   177   0.112   0.367
      10    -0.022    58   235   0.120   0.488
      11     0.240    66   301   0.137   0.624
      12     0.502    55   356   0.114   0.739
      13     0.765    46   402   0.095   0.834
      14     1.028    28   430   0.058   0.892
      15     1.291    21   451   0.044   0.936
      16     1.553    15   466   0.031   0.967
      17     1.816    12   478   0.025   0.992
      18     2.079     2   480   0.004   0.996
      19     2.342     2   482   0.004   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |              .              .              .              .
       3 |            .              .              .              .
       4 |           .              .              .              .
       5 |       .              .              .              .
       6 | .              .              .              .
       7 |            .              .              .
       8 |            .              .
       9 |          .              .
      10 |        .              .
      11 |   .              .
      12 |          .              .
      13 |.              .              .
      14 |            .              .              .
      15 | .              .              .              .
      16 |     .              .              .              .
      17 |       .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #53

 
RUN #54 at 14.05.2003 17:27:46
RefVal Version 4.0
Data file: C:\LAK_lsd\glum.txt
436 reference values read from file

LISTING OF SORTED INPUT DATA

    3.75    3.91    3.96    3.96    3.96    4.08    4.10    4.12    4.13    4.17
    4.17    4.19    4.21    4.21    4.21    4.23    4.23    4.24    4.24    4.24
    4.25    4.25    4.26    4.29    4.29    4.30    4.33    4.34    4.34    4.35
    4.35    4.35    4.35    4.36    4.36    4.36    4.37    4.38    4.39    4.40
    4.40    4.40    4.40    4.40    4.41    4.41    4.41    4.42    4.43    4.43
    4.43    4.43    4.44    4.44    4.44    4.44    4.45    4.45    4.45    4.46
    4.46    4.46    4.48    4.48    4.48    4.49    4.49    4.49    4.49    4.50
    4.50    4.50    4.52    4.52    4.52    4.53    4.53    4.53    4.54    4.54
    4.55    4.55    4.55    4.55    4.55    4.55    4.56    4.57    4.58    4.58
    4.58    4.58    4.58    4.60    4.60    4.61    4.61    4.61    4.62    4.62
    4.62    4.62    4.63    4.64    4.64    4.65    4.65    4.65    4.66    4.66
    4.66    4.66    4.66    4.67    4.67    4.67    4.69    4.69    4.69    4.69
    4.69    4.69    4.70    4.70    4.70    4.70    4.71    4.71    4.71    4.71
    4.73    4.74    4.74    4.74    4.74    4.75    4.75    4.75    4.75    4.75
    4.75    4.75    4.75    4.76    4.76    4.76    4.77    4.77    4.77    4.77
    4.77    4.77    4.77    4.78    4.78    4.79    4.79    4.79    4.79    4.79
    4.79    4.80    4.80    4.80    4.80    4.81    4.81    4.81    4.82    4.82
    4.82    4.82    4.82    4.82    4.83    4.83    4.84    4.84    4.85    4.85
    4.86    4.86    4.86    4.86    4.87    4.87    4.88    4.88    4.88    4.89
    4.89    4.89    4.90    4.90    4.90    4.90    4.90    4.90    4.90    4.91
    4.92    4.92    4.92    4.92    4.92    4.92    4.93    4.93    4.93    4.93
    4.93    4.93    4.93    4.94    4.94    4.94    4.94    4.95    4.95    4.96
    4.96    4.96    4.97    4.97    4.97    4.97    4.98    4.98    4.98    4.99
    4.99    4.99    4.99    4.99    4.99    4.99    5.00    5.00    5.00    5.01
    5.01    5.01    5.01    5.01    5.02    5.02    5.02    5.02    5.03    5.03
    5.03    5.03    5.03    5.04    5.04    5.04    5.04    5.05    5.05    5.05
    5.05    5.06    5.06    5.06    5.06    5.07    5.07    5.07    5.08    5.08
    5.09    5.09    5.09    5.10    5.10    5.10    5.10    5.11    5.11    5.12
    5.12    5.12    5.12    5.12    5.12    5.12    5.12    5.13    5.13    5.13
    5.13    5.13    5.13    5.13    5.13    5.13    5.14    5.14    5.14    5.14
    5.14    5.14    5.15    5.15    5.16    5.16    5.16    5.16    5.17    5.18
    5.18    5.19    5.19    5.20    5.20    5.21    5.21    5.21    5.22    5.22
    5.22    5.23    5.23    5.23    5.23    5.24    5.25    5.25    5.25    5.25
    5.26    5.26    5.26    5.28    5.28    5.28    5.28    5.29    5.30    5.30
    5.30    5.30    5.30    5.30    5.31    5.31    5.32    5.32    5.32    5.32
    5.35    5.35    5.35    5.35    5.36    5.36    5.36    5.37    5.37    5.37
    5.38    5.39    5.39    5.40    5.40    5.41    5.41    5.41    5.42    5.43
    5.43    5.44    5.44    5.46    5.46    5.46    5.46    5.47    5.49    5.50
    5.51    5.51    5.52    5.53    5.54    5.54    5.55    5.56    5.59    5.59
    5.59    5.59    5.60    5.63    5.64    5.64    5.64    5.65    5.66    5.69
    5.71    5.72    5.72    5.74    5.74    5.74    5.75    5.76    5.77    5.78
    5.80    5.81    5.83    5.86    5.90    5.90    5.91    5.94    5.96    5.98
    5.99    6.02    6.07    6.10    6.17    6.21    6.23    6.29    6.30    6.35
    6.50    6.52    6.62    6.77    6.77    6.83

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      3.91     2     2   0.005   0.005
       2      4.07     3     5   0.007   0.011
       3      4.24    15    20   0.034   0.046
       4      4.40    24    44   0.055   0.101
       5      4.56    43    87   0.099   0.200
       6      4.72    43   130   0.099   0.298
       7      4.88    59   189   0.135   0.433
       8      5.05    72   261   0.165   0.599
       9      5.21    57   318   0.131   0.729
      10      5.37    42   360   0.096   0.826
      11      5.53    24   384   0.055   0.881
      12      5.70    16   400   0.037   0.917
      13      5.86    14   414   0.032   0.950
      14      6.02     8   422   0.018   0.968
      15      6.18     3   425   0.007   0.975
      16      6.34     4   429   0.009   0.984
      17      6.51     2   431   0.005   0.989
      18      6.67     2   433   0.005   0.993
      19      6.83     3   436   0.007   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |            .              .              .              .
       3 |    .              .              .              .
       4 |            .              .              .
       5 |              .              .
       6 |              .              .
       7 |   .              .
       8 |         .
       9 |     .              .
      10 |.              .              .
      11 |            .              .              .
      12 |   .              .              .              .
      13 |    .              .              .              .
      14 |        .              .              .              .
      15 |            .              .              .              .
      16 |           .              .              .              .
      17 |             .              .              .              .
      18 |             .              .              .              .
      19 |            .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.733   0.000
Coefficient of kurtosis:         1.187   0.001
Anderson-Darling's Asquare:      2.463   0.000
Cramer-von Mises's Wsquare:      0.364   0.000
Kolmogorov-Smirnov's Dmax:       0.070   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        4.17         4.08 ..    4.24
        0.975        6.21         5.96 ..    6.50

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        4.17         4.09 ..    4.25
        0.975        6.20         5.97 ..    6.42

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        4.15         4.11 ..    4.20
        0.975        6.11         6.00 ..    6.22

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               4.9849
St.dev. of original data                            0.4926
Parameter of expo-transform                        -0.2055
Mean of expo-transformed data                      -0.0988
St.dev. of expo-transformed data                    0.9637
Coeff. of skewness of expo-transformed data        -0.0004
Coeff. of kurtosis of expo-transformed data         0.2242
Parameter of modu-transform                         0.8592
Mean of modu-transformed data                       0.0004
St.dev. of modu-transformed data                    0.9272
Coeff. of skewness of modu-transformed data        -0.0028
Coeff. of kurtosis of modu-transformed data         0.0025
Anderson-Darling's Asq of modu-transformed data     0.2509
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.626     1     1   0.002   0.002
       2    -2.340     1     2   0.002   0.005
       3    -2.055     3     5   0.007   0.011
       4    -1.769     6    11   0.014   0.025
       5    -1.484    12    23   0.028   0.053
       6    -1.198    21    44   0.048   0.101
       7    -0.913    31    75   0.071   0.172
       8    -0.627    33   108   0.076   0.248
       9    -0.342    45   153   0.103   0.351
      10    -0.056    47   200   0.108   0.459
      11     0.228    57   257   0.131   0.589
      12     0.514    56   313   0.128   0.718
      13     0.799    44   357   0.101   0.819
      14     1.085    29   386   0.067   0.885
      15     1.370    20   406   0.046   0.931
      16     1.656    13   419   0.030   0.961
      17     1.941     7   426   0.016   0.977
      18     2.227     5   431   0.011   0.989
      19     2.512     5   436   0.011   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |             .              .              .              .
       3 |            .              .              .              .
       4 |          .              .              .              .
       5 |      .              .              .              .
       6 |.              .              .              .
       7 |        .              .              .
       8 |      .              .              .
       9 |             .              .
      10 |            .              .
      11 |     .              .
      12 |     .              .
      13 |              .              .
      14 |         .              .              .
      15 |.              .              .              .
      16 |     .              .              .              .
      17 |         .              .              .              .
      18 |           .              .              .              .
      19 |           .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #54