RUN #41 at 13.05.2003 17:40:46
RefVal Version 4.0
Data file: C:\LAK_lsd\urfu50.txt
761 reference values read from file

LISTING OF SORTED INPUT DATA

    2.11    2.11    2.16    2.17    2.18    2.18    2.29    2.30    2.33    2.38
    2.47    2.47    2.48    2.56    2.58    2.59    2.59    2.63    2.66    2.66
    2.67    2.67    2.68    2.69    2.69    2.69    2.71    2.72    2.73    2.73
    2.75    2.76    2.77    2.78    2.78    2.78    2.78    2.79    2.79    2.80
    2.81    2.82    2.83    2.83    2.85    2.85    2.86    2.86    2.86    2.86
    2.86    2.87    2.88    2.89    2.89    2.89    2.90    2.91    2.91    2.93
    2.95    2.95    2.96    2.97    2.97    2.97    3.02    3.02    3.02    3.02
    3.03    3.03    3.03    3.04    3.04    3.04    3.05    3.06    3.06    3.06
    3.07    3.07    3.07    3.08    3.08    3.09    3.09    3.10    3.12    3.13
    3.13    3.14    3.15    3.16    3.16    3.16    3.17    3.17    3.18    3.18
    3.18    3.18    3.18    3.19    3.20    3.20    3.20    3.20    3.20    3.21
    3.21    3.21    3.22    3.22    3.23    3.23    3.25    3.25    3.25    3.27
    3.28    3.28    3.29    3.29    3.30    3.31    3.32    3.32    3.32    3.32
    3.33    3.34    3.34    3.34    3.37    3.37    3.38    3.38    3.40    3.40
    3.42    3.42    3.42    3.42    3.43    3.43    3.44    3.45    3.45    3.45
    3.46    3.46    3.46    3.47    3.47    3.47    3.47    3.48    3.48    3.48
    3.49    3.49    3.49    3.49    3.49    3.49    3.50    3.50    3.51    3.51
    3.52    3.52    3.52    3.53    3.53    3.53    3.53    3.54    3.54    3.54
    3.54    3.54    3.55    3.55    3.56    3.56    3.57    3.57    3.57    3.57
    3.58    3.59    3.59    3.60    3.60    3.61    3.61    3.61    3.62    3.63
    3.63    3.63    3.64    3.64    3.64    3.65    3.66    3.66    3.66    3.66
    3.67    3.68    3.68    3.68    3.68    3.68    3.68    3.69    3.69    3.70
    3.70    3.71    3.71    3.71    3.71    3.71    3.71    3.71    3.71    3.71
    3.71    3.71    3.72    3.72    3.73    3.73    3.73    3.73    3.73    3.74
    3.74    3.74    3.74    3.75    3.75    3.75    3.76    3.76    3.76    3.76
    3.76    3.76    3.76    3.77    3.77    3.78    3.78    3.79    3.79    3.79
    3.79    3.79    3.80    3.81    3.82    3.82    3.82    3.83    3.83    3.83
    3.83    3.83    3.83    3.84    3.84    3.84    3.84    3.84    3.85    3.85
    3.85    3.85    3.86    3.87    3.88    3.89    3.89    3.89    3.90    3.90
    3.90    3.91    3.92    3.92    3.92    3.93    3.93    3.93    3.93    3.94
    3.94    3.94    3.95    3.96    3.96    3.96    3.97    3.97    3.97    3.97
    3.98    3.98    3.98    3.98    3.98    3.99    3.99    3.99    3.99    3.99
    4.00    4.01    4.01    4.01    4.01    4.01    4.01    4.01    4.02    4.02
    4.02    4.03    4.03    4.03    4.04    4.04    4.04    4.04    4.05    4.05
    4.05    4.05    4.05    4.05    4.05    4.06    4.06    4.06    4.06    4.07
    4.07    4.07    4.07    4.08    4.08    4.08    4.08    4.09    4.10    4.10
    4.10    4.10    4.10    4.10    4.11    4.11    4.11    4.11    4.12    4.13
    4.13    4.13    4.14    4.14    4.14    4.14    4.14    4.14    4.14    4.14
    4.14    4.14    4.15    4.15    4.15    4.15    4.15    4.15    4.16    4.16
    4.16    4.17    4.17    4.18    4.18    4.18    4.19    4.19    4.19    4.20
    4.20    4.20    4.20    4.20    4.21    4.21    4.21    4.21    4.21    4.22
    4.22    4.22    4.23    4.23    4.23    4.23    4.24    4.24    4.24    4.26
    4.26    4.26    4.28    4.28    4.29    4.29    4.29    4.29    4.30    4.30
    4.30    4.31    4.31    4.31    4.31    4.32    4.32    4.32    4.32    4.32
    4.33    4.33    4.33    4.33    4.33    4.33    4.34    4.34    4.34    4.35
    4.35    4.35    4.36    4.37    4.37    4.38    4.38    4.38    4.38    4.38
    4.38    4.39    4.39    4.39    4.39    4.39    4.40    4.40    4.40    4.40
    4.41    4.41    4.41    4.42    4.42    4.42    4.43    4.44    4.44    4.44
    4.44    4.44    4.44    4.44    4.44    4.44    4.45    4.45    4.46    4.47
    4.47    4.47    4.47    4.48    4.48    4.48    4.49    4.49    4.49    4.49
    4.50    4.50    4.50    4.50    4.51    4.51    4.51    4.51    4.53    4.53
    4.54    4.55    4.55    4.56    4.56    4.57    4.57    4.58    4.58    4.59
    4.60    4.60    4.62    4.62    4.63    4.63    4.63    4.63    4.64    4.64
    4.64    4.64    4.64    4.65    4.66    4.67    4.67    4.67    4.67    4.68
    4.69    4.69    4.69    4.70    4.70    4.71    4.71    4.72    4.72    4.72
    4.73    4.73    4.74    4.74    4.75    4.75    4.75    4.75    4.75    4.75
    4.75    4.75    4.76    4.76    4.77    4.77    4.79    4.79    4.80    4.81
    4.82    4.82    4.82    4.82    4.83    4.83    4.83    4.83    4.84    4.84
    4.85    4.87    4.87    4.88    4.88    4.89    4.89    4.89    4.90    4.90
    4.91    4.92    4.92    4.92    4.92    4.93    4.94    4.94    4.96    4.97
    4.97    4.98    4.99    4.99    5.00    5.00    5.00    5.01    5.01    5.01
    5.02    5.02    5.02    5.02    5.03    5.03    5.03    5.05    5.05    5.05
    5.06    5.06    5.07    5.07    5.07    5.08    5.08    5.09    5.09    5.09
    5.10    5.10    5.10    5.11    5.11    5.12    5.12    5.13    5.13    5.13
    5.13    5.13    5.13    5.14    5.14    5.14    5.14    5.14    5.15    5.16
    5.16    5.16    5.16    5.17    5.17    5.17    5.21    5.21    5.22    5.22
    5.24    5.24    5.25    5.25    5.25    5.27    5.27    5.28    5.28    5.28
    5.30    5.30    5.30    5.31    5.32    5.34    5.35    5.35    5.36    5.37
    5.38    5.39    5.39    5.39    5.39    5.39    5.40    5.40    5.41    5.42
    5.42    5.42    5.44    5.44    5.45    5.45    5.45    5.47    5.47    5.48
    5.48    5.48    5.50    5.53    5.54    5.55    5.56    5.58    5.59    5.61
    5.62    5.64    5.65    5.65    5.65    5.66    5.69    5.73    5.77    5.79
    5.80    5.82    5.82    5.83    5.87    5.88    5.89    5.89    5.90    5.92
    5.94    5.97    5.97    6.03    6.09    6.10    6.17    6.18    6.19    6.22
    6.24    6.39    6.41    6.42    6.46    6.55    6.57    6.64    6.67    6.71
    6.72    6.77    6.77    6.82    6.86    7.14    7.34    7.43    7.58    7.61
    8.08

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      2.42    10    10   0.013   0.013
       2      2.74    20    30   0.026   0.039
       3      3.05    47    77   0.062   0.101
       4      3.37    59   136   0.078   0.179
       5      3.68    81   217   0.106   0.285
       6      4.00   104   321   0.137   0.422
       7      4.31   114   435   0.150   0.572
       8      4.62    89   524   0.117   0.689
       9      4.94    74   598   0.097   0.786
      10      5.25    67   665   0.088   0.874
      11      5.57    42   707   0.055   0.929
      12      5.88    19   726   0.025   0.954
      13      6.19    13   739   0.017   0.971
      14      6.51     6   745   0.008   0.979
      15      6.82     9   754   0.012   0.991
      16      7.14     2   756   0.003   0.993
      17      7.45     2   758   0.003   0.996
      18      7.77     2   760   0.003   0.999
      19      8.08     1   761   0.001   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |          .              .              .              .
       2 |      .              .              .              .
       3 |          .              .              .
       4 |      .              .              .
       5 |            .              .
       6 |   .              .
       7 |              .
       8 |         .              .
       9 |.              .              .
      10 |   .              .              .
      11 |            .              .              .
      12 |       .              .              .              .
      13 |         .              .              .              .
      14 |            .              .              .              .
      15 |          .              .              .              .
      16 |             .              .              .              .
      17 |             .              .              .              .
      18 |             .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.541   0.000
Coefficient of kurtosis:         0.680   0.003
Anderson-Darling's Asquare:      1.983   0.000
Cramer-von Mises's Wsquare:      0.305   0.000
Kolmogorov-Smirnov's Dmax:       0.048   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        2.66         2.47 ..    2.71
        0.975        6.41         6.09 ..    6.71

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        2.63         2.52 ..    2.74
        0.975        6.36         6.06 ..    6.67

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        2.60         2.54 ..    2.67
        0.975        6.27         6.14 ..    6.41

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               4.2209
St.dev. of original data                            0.9390
Parameter of expo-transform                        -0.1672
Mean of expo-transformed data                      -0.0817
St.dev. of expo-transformed data                    0.9783
Coeff. of skewness of expo-transformed data         0.0006
Coeff. of kurtosis of expo-transformed data        -0.0306
Parameter of modu-transform                         1.0230
Mean of modu-transformed data                      -0.0001
St.dev. of modu-transformed data                    1.0124
Coeff. of skewness of modu-transformed data         0.0017
Coeff. of kurtosis of modu-transformed data         0.0019
Anderson-Darling's Asq of modu-transformed data     0.4056
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.442     8     8   0.011   0.011
       2    -2.130     5    13   0.007   0.017
       3    -1.817    14    27   0.018   0.035
       4    -1.504    33    60   0.043   0.079
       5    -1.191    36    96   0.047   0.126
       6    -0.879    44   140   0.058   0.184
       7    -0.566    66   206   0.087   0.271
       8    -0.253    89   295   0.117   0.388
       9     0.058   104   399   0.137   0.524
      10     0.371   101   500   0.133   0.657
      11     0.684    68   568   0.089   0.746
      12     0.996    67   635   0.088   0.834
      13     1.309    62   697   0.081   0.916
      14     1.622    26   723   0.034   0.950
      15     1.934    16   739   0.021   0.971
      16     2.247     8   747   0.011   0.982
      17     2.560     8   755   0.011   0.992
      18     2.872     3   758   0.004   0.996
      19     3.185     3   761   0.004   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |            .              .              .              .
       3 |        .              .              .              .
       4 | .              .              .              .
       5 |.              .              .              .
       6 |            .              .              .
       7 |   .              .              .
       8 |         .              .
       9 |   .              .
      10 |    .              .
      11 |  .              .              .
      12 |   .              .              .
      13 |     .              .              .
      14 |    .              .              .              .
      15 |        .              .              .              .
      16 |           .              .              .              .
      17 |           .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #41

 
RUN #42 at 13.05.2003 17:40:55
RefVal Version 4.0
Data file: C:\LAK_lsd\urfo50.txt
585 reference values read from file

LISTING OF SORTED INPUT DATA

    2.11    2.12    2.15    2.74    2.93    2.95    2.95    2.96    2.97    3.02
    3.03    3.04    3.08    3.08    3.13    3.16    3.18    3.19    3.22    3.22
    3.26    3.31    3.31    3.32    3.33    3.33    3.34    3.35    3.35    3.36
    3.37    3.38    3.38    3.39    3.41    3.41    3.44    3.45    3.48    3.50
    3.54    3.56    3.57    3.57    3.60    3.60    3.62    3.63    3.63    3.63
    3.64    3.64    3.65    3.66    3.67    3.68    3.69    3.69    3.70    3.70
    3.71    3.72    3.73    3.73    3.73    3.75    3.75    3.75    3.75    3.76
    3.79    3.79    3.79    3.79    3.79    3.80    3.83    3.86    3.87    3.87
    3.87    3.88    3.89    3.89    3.89    3.89    3.91    3.92    3.92    3.93
    3.94    3.94    3.94    3.97    3.99    3.99    3.99    4.00    4.01    4.02
    4.02    4.02    4.03    4.03    4.03    4.03    4.06    4.08    4.08    4.08
    4.09    4.09    4.09    4.11    4.11    4.11    4.13    4.13    4.13    4.15
    4.15    4.15    4.15    4.16    4.17    4.18    4.18    4.18    4.18    4.19
    4.19    4.19    4.20    4.21    4.21    4.21    4.21    4.22    4.22    4.22
    4.23    4.23    4.24    4.25    4.25    4.25    4.25    4.26    4.26    4.26
    4.27    4.28    4.28    4.28    4.29    4.29    4.29    4.30    4.31    4.31
    4.33    4.34    4.34    4.35    4.35    4.35    4.35    4.37    4.37    4.38
    4.38    4.40    4.40    4.40    4.40    4.40    4.41    4.41    4.42    4.43
    4.43    4.44    4.44    4.45    4.46    4.48    4.48    4.49    4.49    4.49
    4.50    4.50    4.51    4.52    4.52    4.52    4.53    4.54    4.54    4.56
    4.56    4.58    4.58    4.59    4.59    4.60    4.60    4.60    4.61    4.61
    4.62    4.62    4.62    4.62    4.63    4.65    4.65    4.66    4.67    4.67
    4.68    4.68    4.69    4.69    4.70    4.70    4.70    4.72    4.72    4.72
    4.72    4.72    4.73    4.73    4.73    4.74    4.74    4.74    4.74    4.74
    4.74    4.75    4.75    4.76    4.76    4.76    4.77    4.77    4.77    4.77
    4.78    4.78    4.79    4.79    4.79    4.80    4.80    4.81    4.81    4.82
    4.82    4.82    4.82    4.83    4.83    4.84    4.85    4.85    4.86    4.86
    4.86    4.87    4.87    4.87    4.87    4.87    4.89    4.89    4.90    4.91
    4.91    4.91    4.91    4.92    4.93    4.93    4.93    4.93    4.94    4.95
    4.95    4.95    4.95    4.95    4.96    4.97    4.97    4.98    4.98    4.98
    4.98    4.99    4.99    5.00    5.00    5.00    5.01    5.01    5.03    5.05
    5.05    5.06    5.06    5.06    5.06    5.07    5.07    5.07    5.07    5.08
    5.08    5.08    5.09    5.09    5.09    5.09    5.11    5.12    5.12    5.12
    5.13    5.13    5.14    5.14    5.14    5.14    5.15    5.15    5.18    5.19
    5.20    5.21    5.21    5.21    5.21    5.22    5.22    5.22    5.23    5.24
    5.24    5.25    5.25    5.25    5.26    5.26    5.27    5.28    5.28    5.28
    5.29    5.29    5.29    5.30    5.31    5.32    5.32    5.32    5.32    5.33
    5.33    5.33    5.33    5.35    5.36    5.37    5.38    5.38    5.40    5.41
    5.43    5.44    5.44    5.45    5.47    5.47    5.47    5.48    5.48    5.49
    5.49    5.49    5.51    5.51    5.51    5.51    5.52    5.52    5.53    5.56
    5.56    5.58    5.58    5.60    5.63    5.65    5.66    5.66    5.67    5.69
    5.69    5.70    5.72    5.72    5.72    5.72    5.72    5.72    5.73    5.75
    5.77    5.77    5.77    5.78    5.79    5.79    5.79    5.80    5.81    5.82
    5.82    5.84    5.85    5.85    5.86    5.89    5.89    5.90    5.90    5.90
    5.90    5.91    5.92    5.93    5.94    5.94    5.95    5.95    5.96    5.98
    5.98    5.98    5.99    6.00    6.00    6.01    6.02    6.03    6.03    6.04
    6.09    6.10    6.11    6.11    6.12    6.12    6.14    6.14    6.14    6.15
    6.15    6.15    6.16    6.18    6.19    6.19    6.19    6.19    6.20    6.23
    6.25    6.25    6.26    6.30    6.30    6.30    6.31    6.31    6.32    6.32
    6.32    6.33    6.33    6.36    6.36    6.36    6.38    6.39    6.41    6.42
    6.47    6.47    6.47    6.49    6.49    6.50    6.50    6.50    6.50    6.51
    6.51    6.52    6.55    6.56    6.57    6.57    6.57    6.60    6.61    6.63
    6.65    6.65    6.66    6.66    6.67    6.77    6.77    6.79    6.81    6.81
    6.93    6.93    6.94    6.95    6.95    6.95    6.96    6.96    7.03    7.03
    7.09    7.11    7.13    7.17    7.22    7.27    7.29    7.32    7.33    7.33
    7.38    7.39    7.40    7.40    7.43    7.44    7.48    7.54    7.55    7.59
    7.60    7.61    7.65    7.66    7.66    7.71    7.78    7.80    7.81    7.89
    7.90    8.10    8.16    8.20    8.33    8.35    8.35    8.67    8.71    9.27
    9.57   10.05   10.30   10.33   10.35

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      2.54     3     3   0.005   0.005
       2      2.98     6     9   0.010   0.015
       3      3.41    27    36   0.046   0.062
       4      3.84    41    77   0.070   0.132
       5      4.28    77   154   0.132   0.263
       6      4.71    73   227   0.125   0.388
       7      5.15   111   338   0.190   0.578
       8      5.58    65   403   0.111   0.689
       9      6.01    53   456   0.091   0.779
      10      6.45    44   500   0.075   0.855
      11      6.88    30   530   0.051   0.906
      12      7.31    17   547   0.029   0.935
      13      7.75    19   566   0.032   0.968
      14      8.18     7   573   0.012   0.979
      15      8.62     4   577   0.007   0.986
      16      9.05     2   579   0.003   0.990
      17      9.48     1   580   0.002   0.991
      18      9.92     1   581   0.002   0.993
      19     10.35     4   585   0.007   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |           .              .              .              .
       3 |.              .              .              .
       4 |        .              .              .
       5 |     .              .
       6 |       .              .
       7 |  .
       8 |           .              .
       9 |  .              .              .
      10 |      .              .              .
      11 |              .              .              .
      12 |     .              .              .              .
      13 |    .              .              .              .
      14 |          .              .              .              .
      15 |            .              .              .              .
      16 |             .              .              .              .
      17 |             .              .              .              .
      18 |             .              .              .              .
      19 |            .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.854   0.000
Coefficient of kurtosis:         1.428   0.000
Anderson-Darling's Asquare:      4.620   0.000
Cramer-von Mises's Wsquare:      0.797   0.000
Kolmogorov-Smirnov's Dmax:       0.079   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.11         2.97 ..    3.31
        0.975        7.97         7.66 ..    8.35

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.12         2.98 ..    3.27
        0.975        8.01         7.60 ..    8.41

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.08         2.99 ..    3.18
        0.975        8.07         7.82 ..    8.34

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               5.1436
St.dev. of original data                            1.2692
Parameter of expo-transform                        -0.2469
Mean of expo-transformed data                      -0.1171
St.dev. of expo-transformed data                    0.9504
Coeff. of skewness of expo-transformed data         0.0071
Coeff. of kurtosis of expo-transformed data         0.1214
Parameter of modu-transform                         0.9276
Mean of modu-transformed data                      -0.0003
St.dev. of modu-transformed data                    0.9621
Coeff. of skewness of modu-transformed data         0.0113
Coeff. of kurtosis of modu-transformed data         0.0001
Anderson-Darling's Asq of modu-transformed data     0.3112
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.792     3     3   0.005   0.005
       2    -2.488     0     3   0.000   0.005
       3    -2.184     1     4   0.002   0.007
       4    -1.880    10    14   0.017   0.024
       5    -1.577    16    30   0.027   0.051
       6    -1.273    22    52   0.038   0.089
       7    -0.969    41    93   0.070   0.159
       8    -0.665    54   147   0.092   0.251
       9    -0.362    56   203   0.096   0.347
      10    -0.058    81   284   0.138   0.485
      11     0.245    79   363   0.135   0.621
      12     0.548    48   411   0.082   0.703
      13     0.852    55   466   0.094   0.797
      14     1.156    54   520   0.092   0.889
      15     1.460    24   544   0.041   0.930
      16     1.763    23   567   0.039   0.969
      17     2.067    10   577   0.017   0.986
      18     2.371     3   580   0.005   0.991
      19     2.675     5   585   0.009   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |              .              .              .              .
       3 |             .              .              .              .
       4 |         .              .              .              .
       5 |      .              .              .              .
       6 |   .              .              .              .
       7 |        .              .              .
       8 | .              .              .
       9 |.              .              .
      10 |  .              .
      11 |   .              .
      12 |    .              .              .
      13 | .              .              .
      14 | .              .              .
      15 |  .              .              .              .
      16 |  .              .              .              .
      17 |         .              .              .              .
      18 |            .              .              .              .
      19 |           .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #42

 
RUN #43 at 13.05.2003 17:41:03
RefVal Version 4.0
Data file: C:\LAK_lsd\urmu50.txt
649 reference values read from file

LISTING OF SORTED INPUT DATA

    2.56    2.57    2.65    2.70    2.83    2.85    2.89    3.00    3.01    3.08
    3.12    3.12    3.16    3.16    3.23    3.24    3.25    3.26    3.26    3.28
    3.29    3.30    3.30    3.31    3.35    3.36    3.36    3.37    3.38    3.38
    3.39    3.41    3.44    3.44    3.45    3.45    3.46    3.47    3.47    3.51
    3.52    3.53    3.54    3.54    3.55    3.57    3.58    3.62    3.63    3.66
    3.67    3.68    3.68    3.68    3.70    3.71    3.73    3.74    3.77    3.78
    3.79    3.79    3.81    3.81    3.82    3.83    3.83    3.83    3.84    3.85
    3.85    3.85    3.86    3.87    3.89    3.92    3.92    3.93    3.93    3.94
    3.94    3.94    3.96    3.96    3.96    3.99    4.01    4.01    4.01    4.01
    4.02    4.02    4.03    4.04    4.04    4.05    4.06    4.10    4.10    4.11
    4.11    4.11    4.11    4.12    4.12    4.12    4.12    4.13    4.13    4.15
    4.16    4.16    4.17    4.17    4.18    4.19    4.19    4.20    4.20    4.21
    4.21    4.21    4.22    4.22    4.22    4.22    4.23    4.24    4.24    4.27
    4.27    4.28    4.30    4.30    4.30    4.31    4.31    4.31    4.32    4.32
    4.33    4.35    4.35    4.35    4.35    4.35    4.36    4.36    4.38    4.38
    4.38    4.38    4.39    4.40    4.40    4.41    4.42    4.43    4.43    4.43
    4.43    4.44    4.44    4.44    4.44    4.45    4.45    4.46    4.46    4.46
    4.47    4.48    4.48    4.48    4.48    4.48    4.50    4.51    4.52    4.52
    4.52    4.53    4.53    4.55    4.55    4.55    4.55    4.56    4.56    4.57
    4.57    4.57    4.57    4.58    4.58    4.59    4.60    4.60    4.60    4.60
    4.60    4.61    4.61    4.62    4.62    4.63    4.63    4.63    4.63    4.64
    4.65    4.68    4.68    4.69    4.69    4.69    4.70    4.70    4.70    4.72
    4.72    4.73    4.73    4.73    4.74    4.74    4.74    4.74    4.75    4.75
    4.76    4.76    4.76    4.77    4.78    4.78    4.78    4.78    4.78    4.78
    4.78    4.79    4.80    4.81    4.81    4.81    4.81    4.81    4.81    4.82
    4.83    4.83    4.84    4.84    4.85    4.85    4.86    4.86    4.86    4.87
    4.87    4.88    4.88    4.88    4.89    4.90    4.91    4.91    4.91    4.91
    4.92    4.92    4.92    4.92    4.93    4.93    4.93    4.93    4.94    4.94
    4.95    4.95    4.95    4.95    4.96    4.97    4.97    4.97    4.97    4.98
    4.98    4.99    4.99    4.99    5.00    5.01    5.01    5.01    5.02    5.02
    5.03    5.03    5.04    5.04    5.05    5.06    5.06    5.06    5.07    5.07
    5.07    5.10    5.11    5.11    5.11    5.12    5.12    5.13    5.13    5.14
    5.14    5.15    5.15    5.15    5.15    5.15    5.15    5.15    5.15    5.16
    5.16    5.16    5.16    5.18    5.18    5.18    5.19    5.19    5.19    5.19
    5.20    5.20    5.21    5.21    5.21    5.22    5.22    5.22    5.23    5.23
    5.23    5.25    5.25    5.25    5.26    5.27    5.28    5.28    5.29    5.29
    5.29    5.29    5.29    5.30    5.30    5.31    5.31    5.33    5.33    5.33
    5.33    5.34    5.34    5.34    5.34    5.34    5.34    5.35    5.35    5.35
    5.35    5.35    5.36    5.36    5.37    5.37    5.38    5.38    5.39    5.39
    5.40    5.40    5.40    5.40    5.40    5.41    5.42    5.42    5.42    5.43
    5.44    5.44    5.45    5.45    5.45    5.46    5.46    5.46    5.46    5.47
    5.48    5.48    5.49    5.49    5.49    5.52    5.52    5.52    5.52    5.53
    5.53    5.54    5.54    5.55    5.55    5.55    5.56    5.56    5.57    5.57
    5.58    5.58    5.59    5.59    5.59    5.59    5.61    5.61    5.62    5.64
    5.64    5.64    5.65    5.65    5.66    5.66    5.68    5.68    5.68    5.69
    5.69    5.69    5.69    5.70    5.70    5.70    5.70    5.71    5.72    5.73
    5.74    5.76    5.76    5.76    5.77    5.77    5.78    5.78    5.79    5.79
    5.80    5.80    5.80    5.83    5.84    5.85    5.85    5.87    5.87    5.88
    5.88    5.88    5.88    5.90    5.90    5.91    5.92    5.92    5.92    5.93
    5.93    5.94    5.95    5.96    5.96    5.96    5.96    5.96    5.97    5.98
    5.99    5.99    5.99    6.01    6.03    6.03    6.04    6.04    6.05    6.06
    6.07    6.07    6.07    6.07    6.08    6.09    6.10    6.11    6.12    6.12
    6.13    6.13    6.14    6.16    6.16    6.16    6.17    6.18    6.18    6.19
    6.21    6.21    6.22    6.22    6.24    6.24    6.24    6.25    6.25    6.26
    6.27    6.27    6.28    6.29    6.30    6.30    6.30    6.31    6.33    6.34
    6.34    6.35    6.35    6.36    6.36    6.36    6.37    6.38    6.40    6.41
    6.42    6.44    6.45    6.45    6.45    6.46    6.49    6.52    6.53    6.54
    6.54    6.55    6.55    6.56    6.58    6.59    6.60    6.60    6.64    6.65
    6.65    6.67    6.68    6.70    6.70    6.71    6.73    6.74    6.74    6.75
    6.78    6.79    6.81    6.82    6.90    6.91    6.92    6.92    6.92    6.93
    6.93    6.93    6.94    6.94    6.94    6.96    6.97    6.98    7.00    7.02
    7.03    7.05    7.05    7.06    7.07    7.07    7.13    7.14    7.19    7.19
    7.21    7.24    7.26    7.31    7.34    7.35    7.37    7.41    7.43    7.48
    7.65    7.66    7.68    7.68    7.72    7.79    7.96    7.97    8.03    8.06
    8.16    8.18    8.37    8.51    8.75    9.02    9.12    9.49    9.73

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      2.94     7     7   0.011   0.011
       2      3.31    17    24   0.026   0.037
       3      3.69    30    54   0.046   0.083
       4      4.07    43    97   0.066   0.149
       5      4.45    70   167   0.108   0.257
       6      4.82    83   250   0.128   0.385
       7      5.20    92   342   0.142   0.527
       8      5.58    90   432   0.139   0.666
       9      5.96    66   498   0.102   0.767
      10      6.33    51   549   0.079   0.846
      11      6.71    37   586   0.057   0.903
      12      7.09    30   616   0.046   0.949
      13      7.47    13   629   0.020   0.969
      14      7.84     7   636   0.011   0.980
      15      8.22     6   642   0.009   0.989
      16      8.60     2   644   0.003   0.992
      17      8.98     1   645   0.002   0.994
      18      9.35     2   647   0.003   0.997
      19      9.73     2   649   0.003   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |      .              .              .              .
       3 |.              .              .              .
       4 |         .              .              .
       5 |            .              .
       6 |      .              .
       7 | .              .
       8 |  .              .
       9 |             .              .
      10 |     .              .              .
      11 |            .              .              .
      12 |.              .              .              .
      13 |        .              .              .              .
      14 |           .              .              .              .
      15 |           .              .              .              .
      16 |             .              .              .              .
      17 |              .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.501   0.000
Coefficient of kurtosis:         0.619   0.008
Anderson-Darling's Asquare:      1.461   0.000
Cramer-von Mises's Wsquare:      0.241   0.000
Kolmogorov-Smirnov's Dmax:       0.044   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.24         3.08 ..    3.31
        0.975        7.68         7.35 ..    8.06

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.22         3.10 ..    3.33
        0.975        7.71         7.37 ..    8.04

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.23         3.14 ..    3.32
        0.975        7.69         7.52 ..    7.86

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               5.2095
St.dev. of original data                            1.1377
Parameter of expo-transform                        -0.1560
Mean of expo-transformed data                      -0.0764
St.dev. of expo-transformed data                    0.9813
Coeff. of skewness of expo-transformed data        -0.0047
Coeff. of kurtosis of expo-transformed data         0.0023
Parameter of modu-transform                         0.9988
Mean of modu-transformed data                       0.0000
St.dev. of modu-transformed data                    0.9994
Coeff. of skewness of modu-transformed data        -0.0048
Coeff. of kurtosis of modu-transformed data         0.0006
Anderson-Darling's Asq of modu-transformed data     0.1773
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.471     4     4   0.006   0.006
       2    -2.162     5     9   0.008   0.014
       3    -1.852    15    24   0.023   0.037
       4    -1.543    23    47   0.035   0.072
       5    -1.234    27    74   0.042   0.114
       6    -0.925    38   112   0.059   0.173
       7    -0.616    59   171   0.091   0.263
       8    -0.307    71   242   0.109   0.373
       9     0.001    75   317   0.116   0.488
      10     0.310    93   410   0.143   0.632
      11     0.620    65   475   0.100   0.732
      12     0.929    59   534   0.091   0.823
      13     1.238    44   578   0.068   0.891
      14     1.547    36   614   0.055   0.946
      15     1.856    16   630   0.025   0.971
      16     2.165     8   638   0.012   0.983
      17     2.474     6   644   0.009   0.992
      18     2.783     2   646   0.003   0.995
      19     3.092     3   649   0.005   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |            .              .              .              .
       3 |       .              .              .              .
       4 |   .              .              .              .
       5 |  .              .              .              .
       6 |           .              .              .
       7 |  .              .              .
       8 |           .              .
       9 |         .              .
      10 | .              .
      11 |              .              .
      12 |  .              .              .
      13 |         .              .              .
      14 |            .              .              .
      15 |       .              .              .              .
      16 |          .              .              .              .
      17 |           .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #43

 
RUN #44 at 13.05.2003 17:41:17
RefVal Version 4.0
Data file: C:\LAK_lsd\urmo50.txt
538 reference values read from file

LISTING OF SORTED INPUT DATA

    2.86    3.15    3.28    3.28    3.41    3.44    3.44    3.46    3.46    3.51
    3.52    3.63    3.63    3.66    3.68    3.68    3.70    3.71    3.71    3.72
    3.78    3.79    3.79    3.79    3.80    3.81    3.86    3.87    3.88    3.89
    3.89    3.90    3.93    3.94    3.96    3.99    4.00    4.01    4.01    4.02
    4.02    4.03    4.04    4.06    4.08    4.09    4.10    4.11    4.12    4.15
    4.15    4.17    4.17    4.20    4.25    4.29    4.31    4.32    4.34    4.35
    4.36    4.37    4.37    4.37    4.38    4.39    4.39    4.40    4.40    4.41
    4.43    4.44    4.45    4.45    4.46    4.46    4.48    4.49    4.49    4.49
    4.50    4.50    4.51    4.53    4.53    4.54    4.54    4.54    4.56    4.56
    4.56    4.57    4.58    4.58    4.61    4.62    4.63    4.64    4.65    4.65
    4.67    4.68    4.69    4.69    4.69    4.70    4.71    4.72    4.73    4.73
    4.74    4.74    4.75    4.76    4.76    4.76    4.76    4.77    4.78    4.78
    4.79    4.79    4.80    4.80    4.80    4.81    4.81    4.83    4.83    4.83
    4.83    4.83    4.85    4.85    4.85    4.86    4.87    4.88    4.88    4.88
    4.90    4.90    4.91    4.92    4.93    4.93    4.95    4.95    4.97    4.97
    4.98    4.99    5.00    5.02    5.03    5.03    5.04    5.05    5.05    5.05
    5.05    5.05    5.06    5.07    5.07    5.08    5.09    5.10    5.11    5.11
    5.12    5.12    5.14    5.15    5.15    5.16    5.16    5.16    5.17    5.17
    5.17    5.17    5.17    5.17    5.19    5.20    5.20    5.20    5.21    5.21
    5.24    5.26    5.27    5.28    5.28    5.29    5.30    5.30    5.30    5.30
    5.31    5.31    5.31    5.32    5.33    5.35    5.35    5.36    5.37    5.37
    5.37    5.38    5.38    5.38    5.39    5.39    5.39    5.40    5.41    5.41
    5.42    5.43    5.43    5.44    5.44    5.44    5.44    5.45    5.46    5.48
    5.49    5.49    5.50    5.50    5.50    5.51    5.52    5.52    5.53    5.53
    5.53    5.53    5.53    5.54    5.55    5.55    5.55    5.55    5.56    5.57
    5.57    5.58    5.58    5.58    5.58    5.59    5.62    5.62    5.63    5.64
    5.64    5.64    5.65    5.65    5.66    5.66    5.66    5.67    5.67    5.68
    5.68    5.69    5.71    5.71    5.71    5.71    5.71    5.72    5.72    5.73
    5.73    5.74    5.75    5.76    5.76    5.77    5.78    5.80    5.81    5.83
    5.83    5.85    5.86    5.86    5.87    5.87    5.87    5.87    5.88    5.90
    5.90    5.91    5.91    5.92    5.93    5.94    5.94    5.95    5.96    5.96
    5.96    5.96    5.96    5.96    5.97    6.00    6.00    6.01    6.01    6.02
    6.03    6.03    6.03    6.03    6.04    6.04    6.04    6.05    6.05    6.06
    6.06    6.07    6.07    6.11    6.11    6.11    6.11    6.11    6.11    6.11
    6.12    6.13    6.15    6.15    6.16    6.17    6.17    6.18    6.18    6.21
    6.21    6.22    6.23    6.23    6.23    6.25    6.26    6.26    6.28    6.29
    6.30    6.30    6.31    6.31    6.31    6.31    6.32    6.33    6.33    6.33
    6.34    6.34    6.35    6.36    6.36    6.37    6.37    6.38    6.40    6.41
    6.41    6.41    6.41    6.42    6.42    6.44    6.44    6.44    6.45    6.45
    6.46    6.47    6.48    6.48    6.49    6.49    6.50    6.51    6.51    6.51
    6.53    6.55    6.55    6.57    6.59    6.60    6.61    6.61    6.62    6.62
    6.63    6.63    6.65    6.66    6.67    6.67    6.67    6.68    6.69    6.69
    6.70    6.70    6.70    6.76    6.77    6.77    6.77    6.79    6.79    6.79
    6.80    6.80    6.81    6.82    6.82    6.82    6.83    6.83    6.86    6.86
    6.87    6.87    6.88    6.89    6.90    6.92    6.94    6.96    6.96    6.98
    6.98    6.99    6.99    6.99    6.99    7.00    7.01    7.01    7.03    7.04
    7.06    7.07    7.11    7.11    7.14    7.15    7.15    7.16    7.17    7.17
    7.19    7.20    7.22    7.22    7.26    7.34    7.36    7.38    7.38    7.41
    7.42    7.43    7.45    7.47    7.53    7.53    7.55    7.56    7.57    7.62
    7.62    7.62    7.63    7.63    7.66    7.70    7.70    7.71    7.72    7.73
    7.75    7.80    7.81    7.81    7.81    7.85    7.86    7.87    7.91    7.92
    7.99    8.00    8.01    8.04    8.07    8.10    8.11    8.17    8.18    8.20
    8.21    8.23    8.26    8.42    8.45    8.54    8.54    8.65    8.73    9.01
    9.03    9.03    9.06    9.08    9.19    9.24   10.57   11.97

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      3.34     4     4   0.007   0.007
       2      3.82    22    26   0.041   0.048
       3      4.30    30    56   0.056   0.104
       4      4.78    64   120   0.119   0.223
       5      5.26    72   192   0.134   0.357
       6      5.74    90   282   0.167   0.524
       7      6.22    70   352   0.130   0.654
       8      6.70    71   423   0.132   0.786
       9      7.18    47   470   0.087   0.874
      10      7.65    24   494   0.045   0.918
      11      8.13    23   517   0.043   0.961
      12      8.61    10   527   0.019   0.980
      13      9.09     7   534   0.013   0.993
      14      9.57     2   536   0.004   0.996
      15     10.05     0   536   0.000   0.996
      16     10.53     0   536   0.000   0.996
      17     11.01     1   537   0.002   0.998
      18     11.49     0   537   0.000   0.998
      19     11.97     1   538   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |            .              .              .              .
       2 |  .              .              .              .
       3 |            .              .              .
       4 |        .              .
       5 |    .              .
       6 |         .
       7 |     .              .
       8 |    .              .
       9 |   .              .              .
      10 | .              .              .              .
      11 | .              .              .              .
      12 |        .              .              .              .
      13 |          .              .              .              .
      14 |             .              .              .              .
      15 |              .              .              .              .
      16 |              .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.569   0.000
Coefficient of kurtosis:         0.872   0.002
Anderson-Darling's Asquare:      1.293   0.000
Cramer-von Mises's Wsquare:      0.192   0.000
Kolmogorov-Smirnov's Dmax:       0.041   0.030

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.64         3.46 ..    3.78
        0.975        8.50         8.17 ..    9.03

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.63         3.49 ..    3.77
        0.975        8.51         8.10 ..    8.92

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.64         3.54 ..    3.75
        0.975        8.53         8.33 ..    8.74

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               5.7861
St.dev. of original data                            1.2644
Parameter of expo-transform                        -0.1755
Mean of expo-transformed data                      -0.0855
St.dev. of expo-transformed data                    0.9764
Coeff. of skewness of expo-transformed data         0.0066
Coeff. of kurtosis of expo-transformed data        -0.1626
Parameter of modu-transform                         1.1132
Mean of modu-transformed data                      -0.0003
St.dev. of modu-transformed data                    1.0622
Coeff. of skewness of modu-transformed data         0.0147
Coeff. of kurtosis of modu-transformed data         0.0005
Anderson-Darling's Asq of modu-transformed data     0.1780
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.747     1     1   0.002   0.002
       2    -2.382     3     4   0.006   0.007
       3    -2.016    12    16   0.022   0.030
       4    -1.650    21    37   0.039   0.069
       5    -1.284    21    58   0.039   0.108
       6    -0.919    43   101   0.080   0.188
       7    -0.553    61   162   0.113   0.301
       8    -0.187    66   228   0.123   0.424
       9     0.178    71   299   0.132   0.556
      10     0.543    74   373   0.138   0.693
      11     0.909    63   436   0.117   0.810
      12     1.275    39   475   0.072   0.883
      13     1.640    31   506   0.058   0.941
      14     2.006    17   523   0.032   0.972
      15     2.372     6   529   0.011   0.983
      16     2.738     7   536   0.013   0.996
      17     3.103     0   536   0.000   0.996
      18     3.469     1   537   0.002   0.998
      19     3.835     1   538   0.002   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |            .              .              .              .
       3 |       .              .              .              .
       4 |  .              .              .              .
       5 |  .              .              .              .
       6 |     .              .              .
       7 |          .              .
       8 |       .              .
       9 |    .              .
      10 |   .              .
      11 |         .              .
      12 |       .              .              .
      13 |            .              .              .
      14 |     .              .              .              .
      15 |           .              .              .              .
      16 |          .              .              .              .
      17 |              .              .              .              .
      18 |             .              .              .              .
      19 |             .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #44

 
RUN #45 at 13.05.2003 17:41:24
RefVal Version 4.0
Data file: C:\LAK_lsd\urm.txt
1187 reference values read from file

LISTING OF SORTED INPUT DATA

    2.56    2.57    2.65    2.70    2.83    2.85    2.86    2.89    3.00    3.01
    3.08    3.12    3.12    3.15    3.16    3.16    3.23    3.24    3.25    3.26
    3.26    3.28    3.28    3.28    3.29    3.30    3.30    3.31    3.35    3.36
    3.36    3.37    3.38    3.38    3.39    3.41    3.41    3.44    3.44    3.44
    3.44    3.45    3.45    3.46    3.46    3.46    3.47    3.47    3.51    3.51
    3.52    3.52    3.53    3.54    3.54    3.55    3.57    3.58    3.62    3.63
    3.63    3.63    3.66    3.66    3.67    3.68    3.68    3.68    3.68    3.68
    3.70    3.70    3.71    3.71    3.71    3.72    3.73    3.74    3.77    3.78
    3.78    3.79    3.79    3.79    3.79    3.79    3.80    3.81    3.81    3.81
    3.82    3.83    3.83    3.83    3.84    3.85    3.85    3.85    3.86    3.86
    3.87    3.87    3.88    3.89    3.89    3.89    3.90    3.92    3.92    3.93
    3.93    3.93    3.94    3.94    3.94    3.94    3.96    3.96    3.96    3.96
    3.99    3.99    4.00    4.01    4.01    4.01    4.01    4.01    4.01    4.02
    4.02    4.02    4.02    4.03    4.03    4.04    4.04    4.04    4.05    4.06
    4.06    4.08    4.09    4.10    4.10    4.10    4.11    4.11    4.11    4.11
    4.11    4.12    4.12    4.12    4.12    4.12    4.13    4.13    4.15    4.15
    4.15    4.16    4.16    4.17    4.17    4.17    4.17    4.18    4.19    4.19
    4.20    4.20    4.20    4.21    4.21    4.21    4.22    4.22    4.22    4.22
    4.23    4.24    4.24    4.25    4.27    4.27    4.28    4.29    4.30    4.30
    4.30    4.31    4.31    4.31    4.31    4.32    4.32    4.32    4.33    4.34
    4.35    4.35    4.35    4.35    4.35    4.35    4.36    4.36    4.36    4.37
    4.37    4.37    4.38    4.38    4.38    4.38    4.38    4.39    4.39    4.39
    4.40    4.40    4.40    4.40    4.41    4.41    4.42    4.43    4.43    4.43
    4.43    4.43    4.44    4.44    4.44    4.44    4.44    4.45    4.45    4.45
    4.45    4.46    4.46    4.46    4.46    4.46    4.47    4.48    4.48    4.48
    4.48    4.48    4.48    4.49    4.49    4.49    4.50    4.50    4.50    4.51
    4.51    4.52    4.52    4.52    4.53    4.53    4.53    4.53    4.54    4.54
    4.54    4.55    4.55    4.55    4.55    4.56    4.56    4.56    4.56    4.56
    4.57    4.57    4.57    4.57    4.57    4.58    4.58    4.58    4.58    4.59
    4.60    4.60    4.60    4.60    4.60    4.61    4.61    4.61    4.62    4.62
    4.62    4.63    4.63    4.63    4.63    4.63    4.64    4.64    4.65    4.65
    4.65    4.67    4.68    4.68    4.68    4.69    4.69    4.69    4.69    4.69
    4.69    4.70    4.70    4.70    4.70    4.71    4.72    4.72    4.72    4.73
    4.73    4.73    4.73    4.73    4.74    4.74    4.74    4.74    4.74    4.74
    4.75    4.75    4.75    4.76    4.76    4.76    4.76    4.76    4.76    4.76
    4.77    4.77    4.78    4.78    4.78    4.78    4.78    4.78    4.78    4.78
    4.78    4.79    4.79    4.79    4.80    4.80    4.80    4.80    4.81    4.81
    4.81    4.81    4.81    4.81    4.81    4.81    4.82    4.83    4.83    4.83
    4.83    4.83    4.83    4.83    4.84    4.84    4.85    4.85    4.85    4.85
    4.85    4.86    4.86    4.86    4.86    4.87    4.87    4.87    4.88    4.88
    4.88    4.88    4.88    4.88    4.89    4.90    4.90    4.90    4.91    4.91
    4.91    4.91    4.91    4.92    4.92    4.92    4.92    4.92    4.93    4.93
    4.93    4.93    4.93    4.93    4.94    4.94    4.95    4.95    4.95    4.95
    4.95    4.95    4.96    4.97    4.97    4.97    4.97    4.97    4.97    4.98
    4.98    4.98    4.99    4.99    4.99    4.99    5.00    5.00    5.01    5.01
    5.01    5.02    5.02    5.02    5.03    5.03    5.03    5.03    5.04    5.04
    5.04    5.05    5.05    5.05    5.05    5.05    5.05    5.06    5.06    5.06
    5.06    5.07    5.07    5.07    5.07    5.07    5.08    5.09    5.10    5.10
    5.11    5.11    5.11    5.11    5.11    5.12    5.12    5.12    5.12    5.13
    5.13    5.14    5.14    5.14    5.15    5.15    5.15    5.15    5.15    5.15
    5.15    5.15    5.15    5.15    5.16    5.16    5.16    5.16    5.16    5.16
    5.16    5.17    5.17    5.17    5.17    5.17    5.17    5.18    5.18    5.18
    5.19    5.19    5.19    5.19    5.19    5.20    5.20    5.20    5.20    5.20
    5.21    5.21    5.21    5.21    5.21    5.22    5.22    5.22    5.23    5.23
    5.23    5.24    5.25    5.25    5.25    5.26    5.26    5.27    5.27    5.28
    5.28    5.28    5.28    5.29    5.29    5.29    5.29    5.29    5.29    5.30
    5.30    5.30    5.30    5.30    5.30    5.31    5.31    5.31    5.31    5.31
    5.32    5.33    5.33    5.33    5.33    5.33    5.34    5.34    5.34    5.34
    5.34    5.34    5.35    5.35    5.35    5.35    5.35    5.35    5.35    5.36
    5.36    5.36    5.37    5.37    5.37    5.37    5.37    5.38    5.38    5.38
    5.38    5.38    5.39    5.39    5.39    5.39    5.39    5.40    5.40    5.40
    5.40    5.40    5.40    5.41    5.41    5.41    5.42    5.42    5.42    5.42
    5.43    5.43    5.43    5.44    5.44    5.44    5.44    5.44    5.44    5.45
    5.45    5.45    5.45    5.46    5.46    5.46    5.46    5.46    5.47    5.48
    5.48    5.48    5.49    5.49    5.49    5.49    5.49    5.50    5.50    5.50
    5.51    5.52    5.52    5.52    5.52    5.52    5.52    5.53    5.53    5.53
    5.53    5.53    5.53    5.53    5.54    5.54    5.54    5.55    5.55    5.55
    5.55    5.55    5.55    5.55    5.56    5.56    5.56    5.57    5.57    5.57
    5.57    5.58    5.58    5.58    5.58    5.58    5.58    5.59    5.59    5.59
    5.59    5.59    5.61    5.61    5.62    5.62    5.62    5.63    5.64    5.64
    5.64    5.64    5.64    5.64    5.65    5.65    5.65    5.65    5.66    5.66
    5.66    5.66    5.66    5.67    5.67    5.68    5.68    5.68    5.68    5.68
    5.69    5.69    5.69    5.69    5.69    5.70    5.70    5.70    5.70    5.71
    5.71    5.71    5.71    5.71    5.71    5.72    5.72    5.72    5.73    5.73
    5.73    5.74    5.74    5.75    5.76    5.76    5.76    5.76    5.76    5.77
    5.77    5.77    5.78    5.78    5.78    5.79    5.79    5.80    5.80    5.80
    5.80    5.81    5.83    5.83    5.83    5.84    5.85    5.85    5.85    5.86
    5.86    5.87    5.87    5.87    5.87    5.87    5.87    5.88    5.88    5.88
    5.88    5.88    5.90    5.90    5.90    5.90    5.91    5.91    5.91    5.92
    5.92    5.92    5.92    5.93    5.93    5.93    5.94    5.94    5.94    5.95
    5.95    5.96    5.96    5.96    5.96    5.96    5.96    5.96    5.96    5.96
    5.96    5.96    5.97    5.97    5.98    5.99    5.99    5.99    6.00    6.00
    6.01    6.01    6.01    6.02    6.03    6.03    6.03    6.03    6.03    6.03
    6.04    6.04    6.04    6.04    6.04    6.05    6.05    6.05    6.06    6.06
    6.06    6.07    6.07    6.07    6.07    6.07    6.07    6.08    6.09    6.10
    6.11    6.11    6.11    6.11    6.11    6.11    6.11    6.11    6.12    6.12
    6.12    6.13    6.13    6.13    6.14    6.15    6.15    6.16    6.16    6.16
    6.16    6.17    6.17    6.17    6.18    6.18    6.18    6.18    6.19    6.21
    6.21    6.21    6.21    6.22    6.22    6.22    6.23    6.23    6.23    6.24
    6.24    6.24    6.25    6.25    6.25    6.26    6.26    6.26    6.27    6.27
    6.28    6.28    6.29    6.29    6.30    6.30    6.30    6.30    6.30    6.31
    6.31    6.31    6.31    6.31    6.32    6.33    6.33    6.33    6.33    6.34
    6.34    6.34    6.34    6.35    6.35    6.35    6.36    6.36    6.36    6.36
    6.36    6.37    6.37    6.37    6.38    6.38    6.40    6.40    6.41    6.41
    6.41    6.41    6.41    6.42    6.42    6.42    6.44    6.44    6.44    6.44
    6.45    6.45    6.45    6.45    6.45    6.46    6.46    6.47    6.48    6.48
    6.49    6.49    6.49    6.50    6.51    6.51    6.51    6.52    6.53    6.53
    6.54    6.54    6.55    6.55    6.55    6.55    6.56    6.57    6.58    6.59
    6.59    6.60    6.60    6.60    6.61    6.61    6.62    6.62    6.63    6.63
    6.64    6.65    6.65    6.65    6.66    6.67    6.67    6.67    6.67    6.68
    6.68    6.69    6.69    6.70    6.70    6.70    6.70    6.70    6.71    6.73
    6.74    6.74    6.75    6.76    6.77    6.77    6.77    6.78    6.79    6.79
    6.79    6.79    6.80    6.80    6.81    6.81    6.82    6.82    6.82    6.82
    6.83    6.83    6.86    6.86    6.87    6.87    6.88    6.89    6.90    6.90
    6.91    6.92    6.92    6.92    6.92    6.93    6.93    6.93    6.94    6.94
    6.94    6.94    6.96    6.96    6.96    6.97    6.98    6.98    6.98    6.99
    6.99    6.99    6.99    7.00    7.00    7.01    7.01    7.02    7.03    7.03
    7.04    7.05    7.05    7.06    7.06    7.07    7.07    7.07    7.11    7.11
    7.13    7.14    7.14    7.15    7.15    7.16    7.17    7.17    7.19    7.19
    7.19    7.20    7.21    7.22    7.22    7.24    7.26    7.26    7.31    7.34
    7.34    7.35    7.36    7.37    7.38    7.38    7.41    7.41    7.42    7.43
    7.43    7.45    7.47    7.48    7.53    7.53    7.55    7.56    7.57    7.62
    7.62    7.62    7.63    7.63    7.65    7.66    7.66    7.68    7.68    7.70
    7.70    7.71    7.72    7.72    7.73    7.75    7.79    7.80    7.81    7.81
    7.81    7.85    7.86    7.87    7.91    7.92    7.96    7.97    7.99    8.00
    8.01    8.03    8.04    8.06    8.07    8.10    8.11    8.16    8.17    8.18
    8.18    8.20    8.21    8.23    8.26    8.37    8.42    8.45    8.51    8.54
    8.54    8.65    8.73    8.75    9.01    9.02    9.03    9.03    9.06    9.08
    9.12    9.19    9.24    9.49    9.73   10.57   11.97

DISTRIBUTION OF INPUT DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1      3.06    10    10   0.008   0.008
       2      3.55    46    56   0.039   0.047
       3      4.05    83   139   0.070   0.117
       4      4.54   132   271   0.111   0.228
       5      5.04   190   461   0.160   0.388
       6      5.53   203   664   0.171   0.559
       7      6.03   166   830   0.140   0.699
       8      6.52   138   968   0.116   0.816
       9      7.02   100  1068   0.084   0.900
      10      7.51    46  1114   0.039   0.939
      11      8.01    37  1151   0.031   0.970
      12      8.50    17  1168   0.014   0.984
      13      9.00     6  1174   0.005   0.989
      14      9.49    10  1184   0.008   0.997
      15      9.99     1  1185   0.001   0.998
      16     10.48     0  1185   0.000   0.998
      17     10.98     1  1186   0.001   0.999
      18     11.47     0  1186   0.000   0.999
      19     11.97     1  1187   0.001   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |           .              .              .              .
       2 |  .              .              .              .
       3 |        .              .              .
       4 |           .              .
       5 |           .
       6 |        .
       7 |  .              .
       8 |         .              .
       9 |    .              .              .
      10 |  .              .              .              .
      11 |     .              .              .              .
      12 |          .              .              .              .
      13 |            .              .              .              .
      14 |           .              .              .              .
      15 |              .              .              .              .
      16 |              .              .              .              .
      17 |              .              .              .              .
      18 |              .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

GOODNESS-OF-FIT TO GAUSSIAN DISTRIBUTION

                                 Value    Prob
Coefficient of skewness:         0.568   0.000
Coefficient of kurtosis:         0.815   0.000
Anderson-Darling's Asquare:      3.287   0.000
Cramer-von Mises's Wsquare:      0.533   0.000
Kolmogorov-Smirnov's Dmax:       0.045   0.000

ESTIMATES OF REFERENCE LIMITS AND THEIR CONFIDENCE INTERVALS

Non-parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.36         3.26 ..    3.44
        0.975        8.16         7.97 ..    8.42

Bootstrap estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.35         3.26 ..    3.44
        0.975        8.14         7.96 ..    8.32

Parametric estimates: 
     Fraction   Ref.limit   0.90-confidence interval
        0.025        3.37         3.30 ..    3.44
        0.975        8.16         8.03 ..    8.31

Parametric estimation: TRANSFORMATION DETAILS

Mean of original data                               5.4708
St.dev. of original data                            1.2303
Parameter of expo-transform                        -0.1755
Mean of expo-transformed data                      -0.0856
St.dev. of expo-transformed data                    0.9764
Coeff. of skewness of expo-transformed data        -0.0001
Coeff. of kurtosis of expo-transformed data        -0.0749
Parameter of modu-transform                         1.0532
Mean of modu-transformed data                      -0.0000
St.dev. of modu-transformed data                    1.0289
Coeff. of skewness of modu-transformed data         0.0014
Coeff. of kurtosis of modu-transformed data         0.0021
Anderson-Darling's Asq of modu-transformed data     0.1688
Probability of Asq                                  1.0000

DISTRIBUTION OF TRANSFORMED DATA

     Bar  TopLimit     N  Ncum    Freq     Cum
       1    -2.687     5     5   0.004   0.004
       2    -2.326     6    11   0.005   0.009
       3    -1.966    26    37   0.022   0.031
       4    -1.605    39    76   0.033   0.064
       5    -1.245    63   139   0.053   0.117
       6    -0.884    85   224   0.072   0.189
       7    -0.523   128   352   0.108   0.297
       8    -0.163   165   517   0.139   0.436
       9     0.197   175   692   0.147   0.583
      10     0.558   146   838   0.123   0.706
      11     0.918   130   968   0.110   0.816
      12     1.279   100  1068   0.084   0.900
      13     1.639    49  1117   0.041   0.941
      14     2.000    40  1157   0.034   0.975
      15     2.361    17  1174   0.014   0.989
      16     2.721     9  1183   0.008   0.997
      17     3.082     2  1185   0.002   0.998
      18     3.442     1  1186   0.001   0.999
      19     3.803     1  1187   0.001   1.000

                                       1                             2
 Percent:   1  2  3  4  5  6  7  8  9  0  1  2  3  4  5  6  7  8  9  0
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+
       1 |             .              .              .              .
       2 |            .              .              .              .
       3 |       .              .              .              .
       4 |    .              .              .              .
       5 |             .              .              .
       6 |        .              .              .
       7 |            .              .
       8 |  .              .
       9 |.              .
      10 |       .              .
      11 |           .              .
      12 |    .              .              .
      13 |  .              .              .              .
      14 |    .              .              .              .
      15 |          .              .              .              .
      16 |            .              .              .              .
      17 |             .              .              .              .
      18 |              .              .              .              .
      19 |              .              .              .              .
         +--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+--+

End of run #45